## 1. Site Data
| BPA REFRIGERATION CONTROLS CALCULATOR | v 1.3
INSTRUCTIONS
1 | Fill out "Site Data" tab
2 | Fill out "Refrigeration Controls Data" tab
3 | Attach project invoice and refrigeration schedule to "Supporting Documentation" tab or upload into BEETS at time of submission
4 | Enter value from Refrigeration Controls Data C33 through C46 in the UES Measure Upload Template
5 | Submit file to BEETS, https://visiondsm.programprocessing.com/
Notes:
This calculator can estimate savings for 5 suction groups. If you are working with more than 5 groups, use additional instances of this calculator.
Only enter data for suction groups receiving controls upgrade.
Project must meet all requirements established in the BPA Implementation Manual: https://www.bpa.gov/energy-and-services/efficiency/implementation-manual in order to qualify for incentives.
Yellow cells are to be filled out by user
Grey cells are calculated
Blue cells are values to be entered in UES Upload Template
CUSTOMER DATA
Customer Business Name:
Customer Utility:
Site Contact Name:
Site Contact Email:
Site Phone:
Installation Address (Street):
City:
State:
Zip:
Vendor:
Vendor Phone:
Installation Date:
File name of Associated Refrigeration Schedule:
Project Cost (including equipment and labor)
Technical Contact
Jamie Anthony, P.E.
jtanthony@bpa.gov

## 2. Refrigeration System Data
| Suction Group 1 | Suction Group 2 (use if multiple groups affected) | Suction Group 3 (use if multiple groups affected) | Suction Group 4 (use if multiple groups affected) | Suction Group 5 (use if multiple groups affected. If more than 5 groups, use additional instances of this calculator.)
Floating Head Pressure Control
Suction Group Name as seen in Refrigeration Schedule
Optional: Pre-Project Minimum Condensing Temperature (F)
MBH Affected (Units for UES measure)
Does project add a VFD to the Condenser Fans? (yes or no) | --Select-- | --Select-- | --Select-- | --Select-- | --Select--
Original Suction Pressure of System before work (F)
Estimated Site Energy Savings from Adding FHPC | 0 | 0 | 0 | 0 | 0
Estimated Energy Savings from Adding VFD (if applicable) | 0 | 0 | 0 | 0 | 0
Estimated Energy Savings from adding FHPC and VFD (if applicable) | 0 | 0 | 0 | 0 | 0
Estimated Potential Incentive (May be altered by Utility) | 0 | 0 | 0 | 0 | 0
Total Units for FHPC UES MEASURE (MBH) | 0
Floating Suction Pressure Control
Suction Group Name as seen in Refrigeration Schedule
MBH Affected (Units for UES measure)
Original Suction Pressure of System before work (F)
Estimated Site Energy Savings from adding FSPC | 0 | 0 | 0 | 0 | 0
Estimated Potential Incentive (May be altered by Utility) | 0 | 0 | 0 | 0 | 0
Total Units for FSPC UES MEASURE (MBH) | 0
Total Floating Head Pressure Site Savings (kWh) | 0
Total Floating Suction Pressure Site Savings (kWh) | 0
Total Site Savings (kWh) | 0
Total Estimated Incentive (May be altered by utility) | 0
FOR BPA REPORTING
FLOATING HEAD PRESSURE CONTROL
REFERENCE NUMBER | CRERC21314
QUANTITY | 0 | MBH
CALCULATOR SAVINGS PER UNIT | - | kWh/year
CALCULATOR REIMBURSEMENT PER UNIT | -
CALCULATOR PROJECT COST | -
CALCULATOR BC RATIO | -
FLOATING SUCTION PRESSURE CONTROL
REFERENCE NUMBER | CRERC21315
QUANTITY | 0 | MBH
CALCULATOR SAVINGS PER UNIT | - | kWh/year
CALCULATOR REIMBURSEMENT PER UNIT | -
CALCULATOR PROJECT COST | -
CALCULATOR BC RATIO | -

## 3. Supporting Documentation
Optional: Attach supporting documents such as refrigeration schedule and invoice on this worksheet. These documents may also be submitted as separate files in BEETS.

## UtilityList (hidden)
Account_Name | Description | Avoided Cost Multiplier | Yes/No Dropdown
--Select-- |  | 0.29 | --Select--
ALBION | City of Albion |  | Yes
ASHLAND | City of Ashland |  | No
ASOTIN PUD | Public Utility District No. 1 of Asotin County
BANDON | City of Bandon
BANGOR | USN Bangor
BENTON CO. PUD #1 | Public Utility District No. 1 of Benton County
BENTON REA | Benton Rural Electric Association
BIG BEND ELECTRIC COOP. | Big Bend Electric Cooperative
BLACHLY-LANE ELECTRIC COOP | Blachly-Lane Electric Cooperative
BLAINE | City of Blaine
BONNERS FERRY | City of Bonners Ferry
BREMERTON | USN Bremerton
BURLEY | City of Burley
CANBY | Canby Utility Board
CASCADE LOCKS | City of Cascade Locks
CENTRAL ELECTRIC COOP. | Central Electric Cooperative, Inc.
CENTRAL LINCOLN PUD | Central Lincoln People's Utility District
CENTRALIA | City of Centralia
CHELAN CO. PUD #1 | Chelan Co. PUD #1
CHENEY | City of Cheney
CHEWELAH | City of Chewelah
CLALLAM CO. PUD #1 | Public Utility District No. 1 of Clallam County
CLARK CO. PUD #1 | Clark Public Utilities
CLATSKANIE PUD | Clatskanie People's Utility District
CLEARWATER POWER CO. | Clearwater Power Company
COLUMBIA BASIN COOP. | Columbia Basin Electric Cooperative, Inc.
COLUMBIA POWER COOP. | Columbia Power Cooperative Association
COLUMBIA REA | Columbia Rural Electric Association
COLUMBIA RIVER PUD | Columbia River People's Utility District
CONSOLIDATED IRRIGATION DISTRICT #19 | Consolidated Irrigation District No. 19
CONSUMERS POWER, INC. | Consumers Power, Inc.
COOS-CURRY ELECTRIC COOP. | Coos-Curry Electric Cooperative, Inc.
COULEE DAM | Town of Coulee Dam
COWLITZ CO. PUD #1 | Public Utility District No. 1 of Cowlitz County
DECLO | City of Declo
DOUGLAS CO. PUD #1 | DOUGLAS CO. PUD #1
DOUGLAS ELECTRIC COOP. | Douglas Electric Cooperative, Inc.
DRAIN | City of Drain
EAST END | East End Mutual Electric Company, LTD
EATONVILLE | Town of Eatonville
ELLENSBURG | City of Ellensburg
ELMHURST | Elmhurst Mutual Power & Light Company
EMERALD PUD | Emerald People's Utility District
ENERGY NORTHWEST | Energy Northwest
EWEB | Eugene Water & Electric Board
EVERETT | USN Everett-Jim Creek
FAIRCHILD AIRFORCE BASE | Fairchild Air Force Base
FALL RIVER RURAL ELECTRIC COOP. | Fall River Rural Electric Cooperative, Inc.
FARMERS | Farmers Electric Company, LTD
FERRY CO. PUD #1 | Public Utility District No. 1 of Ferry County
FIRCREST | FIRCREST
FLATHEAD ELECTRIC COOP. | Flathead Electric Cooperative, Inc.
FOREST GROVE | City of Forest Grove
FRANKLIN CO. PUD #1 | Public Utility District No. 1 of Franklin County
GLACIER ELECTRIC COOP. | Glacier Electric Cooperative, Inc.
GRANT CO. PUD #2 | Public Utility District No. 2 of Grant County, Washington
GRAYS HARBOR CO. PUD #1 | Public Utility District No. 1 of Grays Harbor County Washington
HARNEY ELECTRIC COOP. | Harney Electric Cooperative, Inc.
HERMISTON ENERGY SERVICES | City of Hermiston
HEYBURN | City of Heyburn
HOOD RIVER ELECTRIC COOP. | Hood River Electric Cooperative
IDAHO CO. L & P COOP. | Idaho County Light & Power Cooperative Association, Inc.
IDAHO FALLS | City of Idaho Falls
INLAND POWER & LIGHT | Inland Power & Light Company
JEFFERSON | Public Utility District No.1 of Jefferson County
KITTITAS CO. PUD #1 | Public Utility District No. 1 of Kittitas County
KLICKITAT CO. PUD #1 | Public Utility District No. 1 of Klickitat County
KOOTENAI ELECTRIC COOP. | Kootenai Electric Cooperative, Inc.
KALISPEL | Kalispel Indian Community of the Kalispel Reservation
LAKEVIEW L & P CO. | Lakeview Light & Power Company
LANE ELECTRIC COOP. | Lane Electric Cooperative, Inc.
LEWIS CO. PUD #1 | Public Utility District No. 1 of Lewis County
LINCOLN ELECTRIC COOP. MONT | Lincoln Electric Cooperative, Inc.
LOST RIVER ELECTRIC COOP. | Lost River Electric Cooperative, Inc.
LOWER VALLEY ENERGY | Lower Valley Energy, Inc.
MASON CO. PUD #1 | Public Utility District No. 1 of Mason County
MASON CO. PUD #3 | Public Utility District No. 3 of Mason County
MCCLEARY | City of McCleary
MCMINNVILLE | The City of McMinnville
MIDSTATE ELECTRIC COOP. | Midstate Electric Cooperative, Inc.
MILTON | City of Milton
MILTON-FREEWATER | City of Milton-Freewater
MINIDOKA | City of Minidoka
MISSION VALLEY POWER | Mission Valley Power
MISSOULA ELECTRIC COOP. | Missoula Electric Cooperative, Inc.
MODERN ELECTRIC WATER | Modern Electric Water Company
MONMOUTH | City of Monmouth
NESPELEM VALLEY ELECTRIC | Nespelem Valley Electric Cooperative, Inc.
NORTHERN LIGHTS, INC. | Northern Lights, Inc.
NORTHERN WASCO PUD | Northern Wasco County People's Utility District
OHOP MUTUAL | Ohop Mutual Light Company
OKANOGAN CO. ELECTRIC COOP. | Okanogan County Electric Cooperative, Inc.
OKANOGAN CO. PUD #1 | Okanogan County Public Utility District No. 1
ORCAS POWER & LIGHT COOP. | Orcas Power & Light Cooperative
OREGON TRAIL ELECTRIC COOP. | Oregon Trail Electric Consumers Cooperative, Inc.
PACIFIC CO. PUD #2 | Public Utility District No. 2 of Pacific County
PARKLAND P & L | Parkland Light & Water Company
PEND OREILLE CO. PUD #1 | Pend Oreille County PUD No. 1
PENINSULA POWER & LIGHT INC. | Peninsula Light Company
PLUMMER | City of Plummer
PNGC | Pacific Northwest Generating Cooperative
PORT ANGELES | City of Port Angeles
PORT OF SEATTLE | Port of Seattle - Seattle-Tacoma International Airport
RAFT RIVER ELECTRIC COOP. | Raft River Rural Electric Cooperative, Inc.
RAVALLI ELECTRIC COOP. | Ravalli County Electric Cooperative, Inc.
RICHLAND | City of Richland, Washington
RIVERSIDE | Riverside Electric Company, LTD
RUPERT | City of Rupert
SALEM ELECTRIC | Salem Electric
SALMON RIVER ELECTRIC COOP. | Salmon River Electric Cooperative, Inc.
SEATTLE | City of Seattle, City Light Dept
SKAMANIA CO. PUD #1 | Public Utility District #1 of Skamania County
SNOHOMISH CO. PUD #1 | Public Utility District No. 1 Of Snohomish County
SODA SPRINGS | City of Soda Springs
SOUTH SIDE ELECTRIC | South Side Electric, Inc.
SPRINGFIELD | Springfield Utility Board
STEILACOOM | Town of Steilacoom
SUMAS | City of Sumas
SURPRISE VALLEY ELECTRIC CORP. | Surprise Valley Electrification Corporation
TACOMA POWER | Tacoma Power
TANNER ELECTRIC | Tanner Electric Cooperative
TILLAMOOK PUD | Tillamook People's Utility District
TROY | City of Troy
UMATILLA ELECTRIC COOP. | Umatilla Electric Cooperative
UMPQUA INDIAN UTILITY COOP | Umpqua Indian Utility Cooperative
UNITED ELECTRIC COOPERATIVE, INC. | United Electric Co-op, Inc.
US BIA WAPATO | US BIA - Wapato
US DOE NATIONAL TECHNOLOGY LAB | US DOE Natl Energy Technology Lab
US DOE RICHLAND | US Department of Energy - Richland Operations Office
VERA WATER & POWER | Vera Water & Power
VIGILANTE ELECTRIC COOP. | Vigilante Electric Cooperative, Inc.
WAHKIAKUM CO. PUD #1 | Public Utility District No. 1 of Wahkiakum County
WASCO ELECTRIC COOP. | Wasco Electric Cooperative, Inc.
WEISER | City of Weiser
WELLS RURAL ELECTRIC | Wells Rural Electric Company
WEST OREGON ELECTRIC COOP. | West Oregon Electric Cooperative, Inc.
WHATCOM | Public Utility District No 1 of Whatcom County
YAKAMA POWER | Yakama Power

## Sensitivity Analysis (hidden)
From Slide 48 of file "Commercial Refrigeration_FloatingPressureControls_2022_09_20"
| Parameter | Value | Median or Most Comon Value
| Refrigerant | R404A | Median and Common
| Compressor Type | Reciprrocating | Common
| Condenser Type | Air Cooled | Common
| Rejection Airlfow Control Method | Fan Cycleing | Common
| Location | HZ3_CZ2_Craters of the Moon, ID | Median
| Pre Condition Minimum Condensing Temperature | 85 | Median and Common
| Efficient case: Minimum Condensing Temperature | 70 | Common
| Pre Condition Saturated Suction Temperature | VARIABLE INCLUDED IN CALCULATOR
| Efficient Case: Floating suction Controls | No | Common

## Savings Data (hidden)
BPA Refrigeration Controls Calculator. Version 1. Author: Jamie Anthony, P.E., Bonneville Power Administration, Commercial Sector Technical Lead. jtanthony@bpa.gov, 503-230-4046
This calculator is a simplified version of the Regional Technical Forum’s Floating Pressure Controls for Multiplex Systems Standard Protocol. The author made simplifying assumptions, based on the RTF's sensitivity analysis.
The author identified Suction Pressure, Initial Condensing Temperature, and the Use of a VFD in the post case as the most important variables.
Parametric runs with common, simplifying assumptions were used to create a simple Lookup table for both FSPC and FHPC. If a VFD was used, the savings are captured, but the incentive is not affected.
All of the analysis on this sheet was done using Excel 2016's What-If Analysis Data Table function. These are paste special values only that will be used in the BPA Calculator.
The file that used the above analysis technique is called "FloatingPressureControls_v1.1-BPA calculator Data".
It is located here: ESB\PEJ\Jamie Anthony\3.Commercial Tech Lead\01. Measure Development\FHPC on Multiplex\BPA Refrigeration Controls Calculator Development
Savings for adding FHPC, varying Condensing Temp and Suction Temp. Assumes Constant Speed Fan, no FSPC.
Savings for adding FHPC, varying condensing temp and suction temp. Assumes VFD in baseline and proposed.
| 100 | 95 | 90 | 85 | 80 | condensing temps to the left (F) |  |  | 47.0661 | 100 | 95 | 90 | 85 | 80
-35 | 320.226 | 239.3534 | 171.4289 | 114.8306 | 68.0821 |  |  |  | -35 | 339.1518 | 255.5752 | 184.6412 | 124.8305 | 74.716
-30 | 295.7413 | 222.0963 | 159.5249 | 106.9998 | 63.4478 |  |  |  | -30 | 314.1615 | 237.8593 | 172.351 | 116.7021 | 69.8834
-25 | 275.5539 | 207.1912 | 148.8195 | 99.7169 | 59.0207 |  |  |  | -25 | 293.5505 | 222.5797 | 161.3359 | 109.1835 | 65.3005
-20 | 256.9849 | 193.0692 | 138.4411 | 92.5371 | 54.6062 |  |  |  | -20 | 274.6272 | 208.1489 | 150.7045 | 101.8123 | 60.7602
-15 | 238.8339 | 179.0581 | 128.0428 | 85.3034 | 50.1488 |  |  |  | -15 | 256.1796 | 193.8809 | 140.0964 | 94.4201 | 56.1987
-10 | 220.8716 | 165.1164 | 117.6725 | 78.0909 | 45.7137 |  |  |  | -10 | 237.9716 | 179.7262 | 129.552 | 87.0757 | 51.6768
-5 | 202.9917 | 151.2378 | 107.3685 | 70.9477 | 41.34 |  |  |  | -5 | 219.888 | 165.6699 | 119.1017 | 79.821 | 47.2292
0 | 179.572 | 135.4842 | 97.8542 | 66.0913 | 39.5397 |  |  |  | 0 | 194.9597 | 148.6204 | 108.5218 | 74.1337 | 44.855
5 | 166.8572 | 125.8004 | 90.7918 | 61.2729 | 36.63 |  |  |  | 5 | 181.9854 | 138.7107 | 101.2738 | 69.1746 | 41.8525
10 | 155.135 | 116.904 | 84.3242 | 56.8725 | 33.9791 |  |  |  | 10 | 170.024 | 129.6056 | 94.6344 | 64.6436 | 39.1155
15 | 144.3679 | 108.7535 | 78.4125 | 52.8586 | 31.5654 |  |  |  | 15 | 159.0363 | 121.262 | 88.5636 | 60.5087 | 36.6219
20 | 134.4449 | 101.2553 | 72.9828 | 49.1775 | 29.3548 |  |  |  | 20 | 148.9085 | 113.5844 | 82.9859 | 56.7148 | 34.3367
25 | 125.301 | 94.3539 | 67.9908 | 45.7966 | 27.3263 |  |  |  | 25 | 139.5741 | 106.516 | 77.856 | 53.2288 | 32.2386
30 | 116.8808 | 88.0035 | 63.4007 | 42.69 | 25.4635 |  |  |  | 30 | 130.9763 | 100.0098 | 73.1372 | 50.024 | 30.3109
35 | 109.1043 | 82.1405 | 59.1646 | 39.824 | 23.7457 |  |  |  | 35 | 123.0336 | 94.001 | 68.7805 | 47.0661 | 28.5322
suction temps above (F)
savings for adding FSPC after FHPC has been implemented. Varying Condensing and Suction Temp. Assumes Constant Speed Fan.
-35 | 50.1092
-30 | 42.6655
-25 | 37.2121
-20 | 33.1439
-15 | 29.4511
-10 | 26.4251
-5 | 23.6362
0 | 26.9603
5 | 24.7671
10 | 22.8304
15 | 21.1193
20 | 19.5744
25 | 18.1961
30 | 16.9775
35 | 15.8646
suction temps above (F)
Savings after adding VFD. FHPC and FSPC enabled. | [6 empty] | Consumption before VFD. FHPC and FSPC enabled. Varying Suction Temperature. |  |  |  | Consumption after Adding VFD. FHPC and FSPC enabled. Varying Suction Temperature
-35 | 59.1946 | [5 empty] | -35 | 784.9037 |  |  | -35 | 725.7091
-30 | 57.3425 | [5 empty] | -30 | 721.6145 |  |  | -30 | 664.272
-25 | 55.7541 | [5 empty] | -25 | 667.1948 |  |  | -25 | 611.4407
-20 | 54.3472 | [5 empty] | -20 | 619.3082 |  |  | -20 | 564.9609
-15 | 53.0932 | [5 empty] | -15 | 577.1445 |  |  | -15 | 524.0513
-10 | 51.963 | [5 empty] | -10 | 539.7478 |  |  | -10 | 487.7848
-5 | 50.9455 | [5 empty] | -5 | 506.695 |  |  | -5 | 455.7495
0 | 47.4821 | [5 empty] | 0 | 463.7599 |  |  | 0 | 416.2778
5 | 46.4481 | [5 empty] | 5 | 428.3184 |  |  | 5 | 381.8703
10 | 45.4965 | [5 empty] | 10 | 395.7484 |  |  | 10 | 350.2519
15 | 44.6208 | [5 empty] | 15 | 365.7851 |  |  | 15 | 321.1643
20 | 43.8118 | [5 empty] | 20 | 338.0844 |  |  | 20 | 294.2726
25 | 43.0623 | [5 empty] | 25 | 312.3807 |  |  | 25 | 269.3184
30 | 42.3667 | [5 empty] | 30 | 288.4633 |  |  | 30 | 246.0966
35 | 41.7197 | [5 empty] | 35 | 266.1426 |  |  | 35 | 224.4229
suction temps above (F) | [6 empty] | suction temps above (F) |  |  |  | suction temps above (F)