## Summary
The Value of Energy Efficiency Investments
2013-06-28
Objective
The objective of the analysis displayed in the "EE vs. Mid-C" tabs of the accompanying Excel file is to answer the following question: Were BPA’s costs lower as a result of investing in energy efficiency from 2001-2011 rather than purchasing the equivalent amount of energy from the market?
Assumptions
The analysis is based on the following assumptions/inputs: 1. Nominal dollar amounts for annual calculations 2. 6% nominal discount rate 3. 12 year average life of the energy efficiency measures (corresponds to the average measure life from the 6th Power Plan) 4. Energy efficiency investments are capitalized pursuant to BPA's capitalization policy, with a nominal interest rate of 6% (the rate used in the BPA Energy Efficiency Action Plan) 5. Includes only programmatic energy savings (i.e., BPA-funded, utility-funded, market transformation and building codes for FY2001-2004 ) 6. Mid-C wholesale prices are used for 2001-2011 (nominal, Dow Jones) and are varied, such as flat, HLH, LLH, and quarterly, to arrive at different cost savings results 7. The shape of the savings from energy efficiency measures are matched to the chosen Mid-C prices 8. Mid-C wholesale prices for 2012-2022 are assumed to be $20-$30/MWh (nominal, conservatively estimated) 9. No new energy efficiency investments are made after 2011
Conclusions
*The analysis considers only cost savings but not the rate impacts of BPA’s FY 2001 through FY2011 investments in energy efficiency.
The analysis concludes that BPA’s estimated costs will be lower by approximately $750 million to $1.36 billion (net present value in year 2011) for the period 2001-2022 as a result of investing in energy efficiency from 2001-2011 rather than purchasing the equivalent amount of energy from the market. Said another way, in the absence of energy efficiency investments made in 2001-2011, BPA's revenue requirement would be increased by approximately $750 million to $1.36 billion (net present value in year 2011) for the period 2001-2022, depending on which assumptions are used. A primary assumption underlying the range of cost savings is a measure savings persistence rate of zero, i.e., the analysis assumes efficiency savings “expire” after 12 years. In actuality, for many measures, the savings “persist” as end-users reinstall the measure with something as efficient or better. Assuming instead a persistence percentage of 50%, changes the range of cost savings from $1 billion to $1.7 billion (net present value in year 2011).
Thus, BPA’s energy efficiency investments from 2001-2011 were in fact cost effective and helped contribute to lower agency costs.

## EE v Mid-C_Flat
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 189.1 | 20.3 | 36.9 | 40 | 48.9 | 53.1 | 49.9 | 61.4 | 34.9 | 35.3 | 24.5 | 20 | 25 | 28 | 29 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 47.7077 | 16.8581 | 50.3937 | 71.1504 | 104.1781 | 136.4768 | 151.9006 | 223.124 | 145.1578 | 174.7757 | 146.4138 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | 2396.7817 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 22.2154 | -42.9126 | -17.6782 | 4.5894 | 38.4763 | 60.0404 | 77.0256 | 151.8742 | 65.9343 | 76.6547 | 26.8401 | 78.5595 | 103.7563 | 109.293 | 112.0474 | 104.7567 | 93.7154 | 80.5228 | 66.3053 | 49.1013 | 35.2112 | 11.454 | 1307.7826 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 39.7844 | -72.4999 | -28.1764 | 6.9007 | 54.5793 | 80.3476 | 97.243 | 180.8846 | 74.0838 | 81.254 | 26.8401 | 74.1127 | 92.3427 | 91.7645 | 88.7521 | 78.2803 | 66.0657 | 53.5523 | 41.6008 | 29.063 | 19.6617 | 6.0339
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 1182.4709
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_HLH
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 205 | 21.73 | 39.63 | 42.2 | 52.74 | 57.97 | 55.03 | 67.52 | 37.95 | 38.91 | 29.8 | 20 | 25 | 28 | 29 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 51.719 | 18.0456 | 54.1221 | 75.0637 | 112.359 | 148.9936 | 167.5168 | 245.3637 | 157.8435 | 192.6493 | 178.0869 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | 2530.4084 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 26.2268 | -41.725 | -13.9499 | 8.5027 | 46.6571 | 72.5572 | 92.6418 | 174.114 | 78.62 | 94.5284 | 58.5133 | 78.5595 | 103.7563 | 109.293 | 112.0474 | 104.7567 | 93.7154 | 80.5228 | 66.3053 | 49.1013 | 35.2112 | 11.454 | 1441.4093 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 46.9681 | -70.4936 | -22.234 | 12.7848 | 66.184 | 97.0979 | 116.9582 | 207.3725 | 88.3374 | 100.2001 | 58.5133 | 74.1127 | 92.3427 | 91.7645 | 88.7521 | 78.2803 | 66.0657 | 53.5523 | 41.6008 | 29.063 | 19.6617 | 6.0339
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 1342.9184
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_LLH
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 168.92 | 18.38 | 33.66 | 37.3 | 44.02 | 46.82 | 43.47 | 53.54 | 30.96 | 30.66 | 17.75 | 20 | 25 | 28 | 29 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 42.6165 | 15.2636 | 45.9689 | 66.3477 | 93.7816 | 120.336 | 132.327 | 194.5612 | 128.7703 | 151.8023 | 106.0753 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | 2226.4958 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 17.1242 | -44.507 | -22.103 | -0.21327 | 28.0798 | 43.8997 | 57.452 | 123.3115 | 49.5469 | 53.6814 | -13.4984 | 78.5595 | 103.7563 | 109.293 | 112.0474 | 104.7567 | 93.7154 | 80.5228 | 66.3053 | 49.1013 | 35.2112 | 11.454 | 1137.4966 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 30.6669 | -75.1937 | -35.2289 | -0.32068 | 39.8317 | 58.7477 | 72.5319 | 146.8659 | 55.6709 | 56.9023 | -13.4984 | 74.1127 | 92.3427 | 91.7645 | 88.7521 | 78.2803 | 66.0657 | 53.5523 | 41.6008 | 29.063 | 19.6617 | 6.0339
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 978.2051
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_FYQ3 Flat
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 192.1 | 15.4 | 30.8 | 38.7 | 39.4 | 23.6 | 45.4 | 53.9 | 20.3 | 25 | 16.9 | 20 | 25 | 28 | 29 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 48.4645 | 12.7889 | 42.0631 | 68.838 | 83.939 | 60.6563 | 138.2021 | 195.8694 | 84.4327 | 123.7788 | 100.9956 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | 2088.6738 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 22.9723 | -46.9818 | -26.0089 | 2.277 | 18.2372 | -15.78 | 63.3271 | 124.6197 | 5.2093 | 25.6579 | -18.578 | 78.5595 | 103.7563 | 109.293 | 112.0474 | 104.7567 | 93.7154 | 80.5228 | 66.3053 | 49.1013 | 35.2112 | 11.454 | 999.6746 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 41.1398 | -79.3747 | -41.4542 | 3.4238 | 25.8698 | -21.1172 | 79.9491 | 148.424 | 5.8531 | 27.1974 | -18.578 | 74.1127 | 92.3427 | 91.7645 | 88.7521 | 78.2803 | 66.0657 | 53.5523 | 41.6008 | 29.063 | 19.6617 | 6.0339
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 812.5623
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_FYQ4 Flat
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 38.7 | 17.4 | 41.1 | 44.3 | 62.9 | 54.6 | 52.2 | 60.9 | 33 | 32.8 | 26.9 | 20 | 25 | 28 | 29 | 30 | 30 | 30 | 30 | 30 | 30 | 30 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 9.7635 | 14.4498 | 56.1296 | 78.7991 | 134.0042 | 140.332 | 158.902 | 221.307 | 137.2552 | 162.3978 | 160.7563 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | 2402.7418 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | -15.7287 | -45.3209 | -11.9424 | 12.2381 | 68.3023 | 63.8957 | 84.027 | 150.0573 | 58.0317 | 64.2769 | 41.1827 | 78.5595 | 103.7563 | 109.293 | 112.0474 | 104.7567 | 93.7154 | 80.5228 | 66.3053 | 49.1013 | 35.2112 | 11.454 | 1313.7426 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | -28.1678 | -76.5687 | -19.0343 | 18.4015 | 96.8881 | 85.5069 | 106.0822 | 178.7206 | 65.2045 | 68.1335 | 41.1827 | 74.1127 | 92.3427 | 91.7645 | 88.7521 | 78.2803 | 66.0657 | 53.5523 | 41.6008 | 29.063 | 19.6617 | 6.0339
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 1177.5788
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_High
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 6%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 12
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603 | 2.3603
10 | 2002 | 2002: 0.13043; 2003: 0.13043; 2004: 0.13043; 2005: 0.13043; 2006: 0.13043; 2007: 0.13043; 2008: 0.13043; 2009: 0.13043; 2010: 0.13043; 2011: 0.13043
9 | 2003 | 2003: 3.743; 2004: 3.743; 2005: 3.743; 2006: 3.743; 2007: 3.743; 2008: 3.743; 2009: 3.743; 2010: 3.743; 2011: 3.743
8 | 2004 | 2004: 2.4716; 2005: 2.4716; 2006: 2.4716; 2007: 2.4716; 2008: 2.4716; 2009: 2.4716; 2010: 2.4716; 2011: 2.4716
7 | 2005 | 2005: 2.6732; 2006: 2.6732; 2007: 2.6732; 2008: 2.6732; 2009: 2.6732; 2010: 2.6732; 2011: 2.6732
6 | 2006 | 2006: 4.8225; 2007: 4.8225; 2008: 4.8225; 2009: 4.8225; 2010: 4.8225; 2011: 4.8225
5 | 2007 | 2007: 0.7513; 2008: 0.7513; 2009: 0.7513; 2010: 0.7513; 2011: 0.7513
5 | 2008 | 2008: 1.9511; 2009: 1.9511; 2010: 1.9511; 2011: 1.9511; 2012: 1.9511
5 | 2009 | 2009: 4.5538; 2010: 4.5538; 2011: 4.5538; 2012: 4.5538; 2013: 4.5538
5 | 2010 | 2010: 13.1307; 2011: 13.1307; 2012: 13.1307; 2013: 13.1307; 2014: 13.1307
12 | 2011 | 2011: 19.2936; 2012: 19.2936; 2013: 19.2936; 2014: 19.2936; 2015: 19.2936; 2016: 19.2936; 2017: 19.2936; 2018: 19.2936; 2019: 19.2936; 2020: 19.2936; 2021: 19.2936; 2022: 19.2936
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 2.3603 | 2.4907 | 6.2337 | 8.7054 | 11.3785 | 16.201 | 16.9523 | 18.9035 | 23.4573 | 36.588 | 55.8815 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | 483.0743 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 12 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 682.2 | 682.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117
(assuming 12 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5976072 | 5992444.8 | 5723784 | 5145624 | 4610388 | 4213684.8 | 3845640 | 3405888 | 2931972 | 2358504 | 1816824 | 1024920 | 71761982.4 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 12 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 189.1 | 20.3 | 36.9 | 40 | 48.9 | 53.1 | 49.9 | 61.4 | 34.9 | 35.3 | 24.5 | 20 | 25 | 28 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 47.7077 | 16.8581 | 50.3937 | 71.1504 | 104.1781 | 136.4768 | 151.9006 | 223.124 | 145.1578 | 174.7757 | 146.4138 | 119.8489 | 143.0946 | 144.0775 | 186.7207 | 170.6542 | 155.7484 | 137.9385 | 118.7449 | 95.5194 | 73.5814 | 41.5093 | 2655.5742 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -25.4923 | -59.7707 | -68.072 | -66.561 | -65.7019 | -76.4363 | -74.875 | -71.2497 | -79.2235 | -98.1209 | -119.5737 | -41.2894 | -39.3383 | -34.7845 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -21.6538 | -19.2936 | -19.2936 | -1088.9991 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 22.2154 | -42.9126 | -17.6782 | 4.5894 | 38.4763 | 60.0404 | 77.0256 | 151.8742 | 65.9343 | 76.6547 | 26.8401 | 78.5595 | 103.7563 | 109.293 | 165.0669 | 149.0004 | 134.0946 | 116.2847 | 97.0911 | 73.8656 | 54.2878 | 22.2157 | 1566.5751 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 39.7844 | -72.4999 | -28.1764 | 6.9007 | 54.5793 | 80.3476 | 97.243 | 180.8846 | 74.0838 | 81.254 | 26.8401 | 74.1127 | 92.3427 | 91.7645 | 130.7484 | 111.3418 | 94.5314 | 77.3359 | 60.9161 | 43.7209 | 30.314 | 11.703
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 1360.0729
Yearly Cost of EE Savings ($/MWh) |  | 101.0443 | 71.974 | 49.8446 | 37.4199 | 30.8397 | 29.7396 | 24.5968 | 19.6067 | 19.0475 | 19.8178 | 20.0087 | 6.8902 | 6.8728 | 6.76 | 4.6967 | 5.1389 | 5.6307 | 6.3578 | 7.3854 | 9.1812 | 10.6194 | 18.8244
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## EE v Mid-C_Low
Energy Efficiency vs. Mid-C Analysis | [23 empty] | 2001-2020 for Investments made through 2011
(Dollar figures are nominal and in millions unless otherwise denoted)
Assumptions
Nominal Interest Rate | 12%
Nominal Discount Rate | 6%
Average Measure Life (years)* | 10
Percent of Savings Persistence** | 0%
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
|  | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil) | ($ mil)
Capital EE Investments
Amount Borrowed and Invested for EE |  | 27.072 | 0.96 | 25.459 | 15.3483 | 14.9227 | 23.7137 | 3.1648 | 8.2189 | 19.1823 | 55.3113 | 161.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 355.107 | Total Capital Cost of EE 2001 - 2011
Amortization Payment (calculated using PMT function, based on amortization periods below) | FY
20 | 2001 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244 | 3.6244
10 | 2002 | 2002: 0.1699; 2003: 0.1699; 2004: 0.1699; 2005: 0.1699; 2006: 0.1699; 2007: 0.1699; 2008: 0.1699; 2009: 0.1699; 2010: 0.1699; 2011: 0.1699
9 | 2003 | 2003: 4.7781; 2004: 4.7781; 2005: 4.7781; 2006: 4.7781; 2007: 4.7781; 2008: 4.7781; 2009: 4.7781; 2010: 4.7781; 2011: 4.7781
8 | 2004 | 2004: 3.0897; 2005: 3.0897; 2006: 3.0897; 2007: 3.0897; 2008: 3.0897; 2009: 3.0897; 2010: 3.0897; 2011: 3.0897
7 | 2005 | 2005: 3.2698; 2006: 3.2698; 2007: 3.2698; 2008: 3.2698; 2009: 3.2698; 2010: 3.2698; 2011: 3.2698
6 | 2006 | 2006: 5.7678; 2007: 5.7678; 2008: 5.7678; 2009: 5.7678; 2010: 5.7678; 2011: 5.7678
5 | 2007 | 2007: 0.87793; 2008: 0.87793; 2009: 0.87793; 2010: 0.87793; 2011: 0.87793
5 | 2008 | 2008: 2.28; 2009: 2.28; 2010: 2.28; 2011: 2.28; 2012: 2.28
5 | 2009 | 2009: 5.3213; 2010: 5.3213; 2011: 5.3213; 2012: 5.3213; 2013: 5.3213
5 | 2010 | 2010: 15.3439; 2011: 15.3439; 2012: 15.3439; 2013: 15.3439; 2014: 15.3439
12 | 2011 | 2011: 26.1131; 2012: 26.1131; 2013: 26.1131; 2014: 26.1131; 2015: 26.1131; 2016: 26.1131; 2017: 26.1131; 2018: 26.1131; 2019: 26.1131; 2020: 26.1131; 2021: 26.1131; 2022: 26.1131
EE Expenses
Program Costs*** |  | 2001: 13.0517; 2002: 48.2425; 2003: 55.5462; 2004: 50.8511; 2005: 47.1939; 2006: 52.8415; 2007: 50.9057; 2008: 44.1304; 2009: 45.2083; 2010: 52.6631; 2011: 53.7495
Staff Costs |  | 2001: 10.0803; 2002: 9.0374; 2003: 6.2921; 2004: 7.0046; 2005: 7.1295; 2006: 7.3938; 2007: 7.017; 2008: 8.2158; 2009: 10.5579; 2010: 8.8698; 2011: 9.9427
Total Expenses |  | 2001: 23.132; 2002: 57.28; 2003: 61.8382; 2004: 57.8557; 2005: 54.3233; 2006: 60.2353; 2007: 57.9227; 2008: 52.3463; 2009: 55.7662; 2010: 61.533; 2011: 63.6922 | 605.9248 | Total Expensed cost of EE 2001-2011 including Program/Staff costs
EE Capital Costs
Yearly Principal and Interest Paid on EE Borrowings since 2001**** |  | 3.6244 | 3.7943 | 8.5724 | 11.662 | 14.9319 | 20.6997 | 21.5776 | 23.8576 | 29.1789 | 44.5228 | 70.6359 | 52.6827 | 50.4027 | 45.0813 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 26.1131 | 26.1131 | 631.8748 | Total Capital & Interest cost for investments in EE 2001-2022 (includes amortization of all investments 2001 - 2011)
Annual Cost of EE Program |  | 26.7564 | 61.0742 | 70.4106 | 69.5177 | 69.2552 | 80.935 | 79.5003 | 76.2039 | 84.9451 | 106.0558 | 134.328 | 52.6827 | 50.4027 | 45.0813 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 29.7374 | 26.1131 | 26.1131
BPA Booked Programmatic Savings (aMW) |  | 28.8 | 66 | 61.1 | 46.6 | 40.7 | 50.2 | 54.1 | 66.2 | 61.1 | 90.4 | 117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Savings Per FY from EE |  | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 28.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(assuming 10 year average measure life and persistence percentage) |  |  | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 46.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 40.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 50.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 54.1 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 66.2 | 0 | 0 | 0 | 0 | 0
[10 empty] | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 61.1 | 0 | 0 | 0 | 0
[11 empty] | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 90.4 | 0 | 0 | 0
[12 empty] | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 117 | 0 | 0
Cumulative Energy Savings from EE (aMW per year) |  | 28.8 | 94.8 | 155.9 | 202.5 | 243.2 | 293.4 | 347.5 | 413.7 | 474.8 | 565.2 | 653.4 | 587.4 | 526.3 | 479.7 | 439 | 388.8 | 334.7 | 268.5 | 207.4 | 117 | 0 | 0
(assuming 10 year average measure life)
Cumulative Energy Savings from EE (MWh per year) |  | 252288 | 830448 | 1365684 | 1778760 | 2130432 | 2570184 | 3044100 | 3633940.8 | 4159248 | 4951152 | 5723784 | 5159721.6 | 4610388 | 4202172 | 3845640 | 3415219.2 | 2931972 | 2352060 | 1816824 | 1027728 | 0 | 0 | 59801745.6 | Lifetime MWH of savings for measures installed 2001-2011
(assuming 10 year average measure life)
FY Average Mid-C Wholesale Price ($/MWH)
(Dow Jones annual average) |  | 189.1 | 20.3 | 36.9 | 40 | 48.9 | 53.1 | 49.9 | 61.4 | 34.9 | 35.3 | 24.5 | 20 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 |  | Assumed price of Mid-C for 2012-2022
Annual Benefit (or Loss) from EE Investments
Value of Energy Saved***** |  | 47.7077 | 16.8581 | 50.3937 | 71.1504 | 104.1781 | 136.4768 | 151.9006 | 223.124 | 145.1578 | 174.7757 | 140.2327 | 103.1944 | 115.2597 | 105.0543 | 96.141 | 85.3805 | 73.2993 | 58.8015 | 45.4206 | 25.6932 | 0 | 0 | 1970.2 | Lifetime Revenue from selling power available from "EE savings" into the market at Mid-C prices
Less: Annual Cost of EE Program |  | -26.7564 | -61.0742 | -70.4106 | -69.5177 | -69.2552 | -80.935 | -79.5003 | -76.2039 | -84.9451 | -106.0558 | -134.328 | -52.6827 | -50.4027 | -45.0813 | -29.7374 | -29.7374 | -29.7374 | -29.7374 | -29.7374 | -29.7374 | -26.1131 | -26.1131 | -1237.7996 | Total Capital, Interest & Expensed cost of EE 2001-2022 for investments made 2001 - 2011
Impact on Net Revenue Due to EE Program (Nominal $ mil) |  | 20.9513 | -44.2162 | -20.0169 | 1.6327 | 34.9229 | 55.5418 | 72.4003 | 146.9201 | 60.2126 | 68.7199 | 5.9047 | 50.5118 | 64.857 | 59.973 | 66.4036 | 55.643 | 43.5619 | 29.0641 | 15.6832 | -4.0442 | -26.1131 | -26.1131 | 732.4004 | Lifetime Net Benefit (Cost) of EE Investments if savings permitted BPA to sell equivalent power at Mid-C prices
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
Present Value Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 37.5206 | -74.7023 | -31.9039 | 2.455 | 49.5388 | 74.3274 | 91.4037 | 174.9842 | 67.6549 | 72.8431 | 5.9047 | 47.6526 | 57.7225 | 50.3545 | 52.5978 | 41.5797 | 30.7094 | 19.3293 | 9.8398 | -2.3938 | -14.5814 | -13.756
Net Present Value Total Impact on Net Revenue Due to EE Program ($ mil in year 2011) |  | 2001: 749.0807
Yearly Cost of EE Savings ($/MWh) |  | 106.0549 | 73.5437 | 51.557 | 39.0821 | 32.5076 | 31.49 | 26.1162 | 20.97 | 20.4232 | 21.4204 | 23.4684 | 10.2104 | 10.9324 | 10.7281 | 7.7328 | 8.7073 | 10.1425 | 12.6431 | 16.3678 | 28.9351 | #DIV/0! | #DIV/0!
Notes:
* If the B6 is changed to reflect a different average measure life, rows 15 and 51 would need to be manually adjusted.
** For many measures, the savings “persist” as end-users likely reinstall the measure with something as efficient or better. Assuming zero percent persistence translates into savings “expiring” after 12 years. On the other hand, assuming 100 percent persistence translates into savings persisting till the end of the analysis period, i.e., 2022. See note in Companion document for more information on persistence.
*** Expensed "Program Costs" includes net Federal Reimbursables, but does not include Debt Service and Legacy costs.
**** For example, the $6.4 million in 2003 represents the principal and interest paid for all debt incurred from 2001 through 2003.
***** Calculated as 1) Revenue from Selling EE Savings @ Mid-C Market or 2) Avoided Cost of Purchasing EE Savings @ Mid-C

## Graphs
Fiscal Year |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Nominal
Annual Cost of EE Program | (nominal) | 25.4923 | 59.7707 | 68.072 | 66.561 | 65.7019 | 76.4363 | 74.875 | 71.2497 | 79.2235 | 98.1209 | 119.5737 | 41.2894 | 39.3383 | 34.7845 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 21.6538 | 19.2936 | 19.2936 | Total Cost of EE 2001-2022 (Includes Amortizaton Cost of Capital) | 1.089
Revenue from Selling EE Savings @ Mid-C Market or Avoided Cost of Purchasing EE Savings @ Mid-C | (nominal) | 47.7077 | 16.8581 | 50.3937 | 71.1504 | 104.1781 | 136.4768 | 151.9006 | 223.124 | 145.1578 | 174.7757 | 146.4138 | 119.8489 | 143.0946 | 144.0775 | 133.7013 | 126.4105 | 115.3692 | 102.1766 | 87.9592 | 70.7551 | 54.5047 | 30.7476 | Total Benefit of EE 2001-2022 | 2.3968
[24 empty] | Net Benefit of EE 2001-2022 | 1.3078
Discount Factor |  | 1.7908 | 1.6895 | 1.5938 | 1.5036 | 1.4185 | 1.3382 | 1.2625 | 1.191 | 1.1236 | 1.06 | 1 | 0.9434 | 0.89 | 0.83962 | 0.79209 | 0.74726 | 0.70496 | 0.66506 | 0.62741 | 0.5919 | 0.55839 | 0.52679
|  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Present Value in 2011
Annual Cost of EE Program | (present value in year 2011) | 45.6528 | 100.9813 | 108.4964 | 100.0832 | 93.1993 | 102.2891 | 94.528 | 84.8596 | 89.0155 | 104.0082 | 119.5737 | 38.9523 | 35.011 | 29.2057 | 17.1518 | 16.181 | 15.2651 | 14.401 | 13.5859 | 12.8169 | 10.7734 | 10.1636 | Total Cost of EE 2001-2022 (Includes Amortizaton Cost of Capital) | 1.2562
Revenue from Selling EE Savings @ Mid-C Market or Avoided Cost of Purchasing EE Savings @ Mid-C | (present value in year 2011) | 85.4372 | 28.4814 | 80.32 | 106.9839 | 147.7787 | 182.6367 | 191.771 | 265.7442 | 163.0993 | 185.2622 | 146.4138 | 113.065 | 127.3537 | 120.9702 | 105.9039 | 94.4613 | 81.3307 | 67.9533 | 55.1867 | 41.8798 | 30.4352 | 16.1975 | Total Benefit of EE 2001-2022 | 2.4387
[24 empty] | Net Benefit of EE 2001-2022 | 1.1825