## Oct 31 Comments-Responses
Bonneville Power Administration - Provider of Choice - October 31 Draft Contract Templates - Comment Tracker
Last Updated: |  | 2024-12-19
Purpose: |  | This tracker provides a summary of comments provided by stakeholders in response to the October 31, 2024 version of the Draft Contract Templates, and BPA's intial responses to comments All draft Provider of Choice (POC) contract language is subject to ongoing review and revision given ongoing negotiations between the parties (BPA and its customers). Prior to finalizing the POC contract templates, BPA will publish complete contract templates for public review and comment. The descriptions in this document are for informational purposes only, are not intended to be comprehensive, and do not reflect every comment detail. This document is neither an interpretation of, nor a substitute for executed contract language. Parties are responsible for reviewing all contract language prior to executing a POC contract.
Chrono. Sort | Contract Section Number | Contract Section Name | Submitted By | Comment | BPA Response
1 | 2 | Definitions | Grant | The posted glossary of contract definitions is incomplete; additional comments are likely once the glossary is completed. | Definitions will be included in the December 19 template release. A new version of the definitions tracker will also be released, though it may be released after Dec. 19.
2 | 3.1 | Purchase Obligation | Grant | See comments. The Block template does not adequately distinguish formally “Dedicated” non-federal resources from resources identified as serving New Large Single Loads (NLSLs), but not dedicated per statute, e.g., under Northwest Power Act §5(b)(1)(B). The defined terms, body of the contract, and Exhibit A should be revised to distinguish (a) Dedicated resources that affect the Customer’s Net Requirements (NR) from (b) non-federal resources that are “identified” to meet reasonable purposes of the Provider of Choice (PoC) contact (e.g., service to NLSLs), but are not formally “Dedicated” pursuant to statutory options. Unlike Dedicated resources, “Identified” resources should not affect either the Block Customer’s NR or the Block Customer’s rights and obligations regarding its Contract High Water Mark (CHWM) Block. The PoC contract should explicitly preserve the Customer’s option (not obligation) to Dedicate post-1980 resources. | BPA intends to discuss with commenter directly.
3 | 3.2 | Take or Pay | Grant | "This is another example of language describing the “obligation to purchase”, and should be reviewed and rewritten when Shaping Capacity is clearly defined as an energy-neutral call option within each month." | Comment related to section 6 and comment addressed in Dec. 11 workshop. Customer will not pay extra for the energy if they remain energy neutral as per the Block contract, but there will be a capacity charge for BPA holding the energy to provide shaping capacity to customers.
4 | 3.3.1.2 | Determining Specified Resource Amounts | NRU | Recommending additional language, allowing for updating “new” generator generation amounts where historical data is unavailable, such as: “If BPA and Customer Name determine Exhibit A amounts for a Specified Resource that includes newly built or upgraded generation that does not have historical data that can be reasonably used to determine such amounts, then BPA and Customer Name may revise the Exhibit A amounts when a historical record of data is available.” | BPA shared response at the Dec. 18 workshop.
5 | 3.5.2 | Specified Resources Added to T1 Allowance Amount | NRU | NRU continues to be concerned with “phased” resource development being added to Tier 1 Allowance Amounts. Recognize this is specific to a secondary process, but I’d like to maintain the internal reference until this is clearer. | BPA shared response at the Dec. 18 workshop.
6 | 3.5.3 | Resource Additions for a BPA Insufficiency Notice | Grant | In the event of a Notice of Insufficiency, Customers should be able to use replacement non-federal resources without being required to Dedicate such resources ": Customer should also be able to add new non-dedicated Resources after such a notice of insufficiency. There is no 23.2." | BPA shared response at the Dec. 18 workshop.
7 | 3.5.8 | Resource Additions/Removals for NLSLs | Grant | See Comments. The PoC Block contract should not interfere with retail relationships among (a) the Customer, (b) NLSLs, and (c) non-federal resources serving NLSLs, as long as (1) all rights and obligations regarding the Block are preserved, and (2) the Customer notifies BPA that non-federal resources will serve all of its NLSLs. Such non-federal resources may be Dedicated or not, at the choice of the Customer. | BPA intends to discuss with commenter directly.
8 | 3.5.8 | Resource Additions/Removals for NLSLs | Grant | See Comments. Hourly matching of non-federal resources and NLSL loads is unnecessary for Block customers. Block Customers should be allowed to manage hourly differences between NLSL loads and non-federal resources as long as the Customer’s Block rights and obligations are preserved. Block Customers should be allowed to purchase the output of a Consumer’s owned or contracted-for resource that is not needed or scheduled by the NLSL, and replace Identified and/or Dedicated resources as necessary based on retail arrangements. | BPA intends to discuss with commenter directly.
9 | 3.5.8.1 | Resource Additions/Removals for NLSLs | Grant | BPA should explain and document its prior decision that NR power is not available to serve NLSLs of planned product Customers. Grant PUD’s understanding is that NLSLs are requirements loads, but subject to separate rates (i.e., NR instead of PF). Grant PUD is unaware of the justification for a prohibition on the sale of NR power to planned product customers for NLSLs. | Based on policy and ROD direction.
10 | 3.6 | Consumer-Owned | Grant | See comments; (Part, not whole comment: This section 3.6 should distinguish between LF and Planned Product customers. Block customers may prefer to make one-on-one arrangements with consumers that include the right/obligation of the Customer to take energy that is excess to the immediate needs of the consumer (e.g., during load outages). | BPA is considering contract edits in response to this comment and will share language in January.
11 | 3.6.3 | Application of Consumer-Owned Resources Serving On-Site Consumer Load | Snohomish | Snohomish does not believe the language added to section 3.6.3 (as compared to the Regional Dialogue contract) is necessary to ensure the BPA customer's take-or-pay obligations are met. The new language gives BPA the sole discretion to determine whether to make any adjustment to the customer's TRL based upon new information the customer must provide to BPA. The administrative burden of these new requirements (particularly given the level of discretion BPA has to determine the sufficiency of the customer's information provided) seems to outweigh the benefits provided by this language. Further, the last paragrah of section 3.6.3 makes the BPA customer responsible for "any costs" resulting from negative flow through the customer's POD behind which the Consumer-Owned Resource is located. The RD contract language seemed to already sufficiently address this by providing that the customer would receive no compensation from BPA for excess generation from the Consumer-Owned Resource. this new language seems to go a step further in allwoing BPA to define at a later date what the braod term "any costs" may include, and for which its customer would be directly responsible. Given the new language in section 3.6.3 seems to exeed its necessity, Snohomish suggests reverting back to the language under the RD contract. | BPA is considering comments and will share response and any edits in January.
12 | 3.7.3 | Whole Megawatt Amounts | NRU | Initially recommended deletion, but BPA pushed back. Language remains confusing. Recognize the interest here is to “front load” the data and MWs, but we’re talking about schedules submitted two-years in advance - extremely unlikely anyone will try to game the system on that timeline. | BPA shared responsive edits at Dec. 18 workshop.
13 | 3.8 | Newly Proposed (RECS) | Seattle City Light | As discussed at the November 14, 2024 workshop regarding Section 17, because the deletion of Section 18 takes out this affirmative obligation of BPA to transfer RECs to customers in accordance with Exhibit H from the body of the agreement, SCL suggests placing this provision here. Including this provision in the body of the Agreement is necessary. | BPA shared draft language at the Dec. 18 workshop and will include in the Dec.19 template release.
14 | 6 | PRDM | Grant | The PRDM does not discuss a charge for not using Shaping Capacity, so it would appear that no such charge is possible until the PRDM is revised to incorporate such a charge, including application of the charge to unused capacity held to serve Load Following customers. If a charge is proposed by BPA, the Customer should have an immediate right to stop purchasing Shaping Capacity without having to go through the product switching process. | Comment addressed in Dec. 11 workshop. Customer will not pay extra for the energy if they remain energy neutral as per the Block contract, but there will be a capacity charge for BPA holding the energy to provide shaping capacity to customers.
15 | 6.3 | PRDM | Seattle City Light | See their comments which provided suggested significant redlines. "Seattle City Light believes this is an issue that needs to be addressed, as discussed at prior workshops. Seattle City Light supports the suggested changes from WPAG and NRU, shown in the edits here." | Section 6.3 dispute resolution clauses addressed in Dec. 11 workshop. NRU and WPAG verbally stated they had no concerns with the proposed deletions made by BPA in section 6.
16 | 8 | Applicable Rates | NRU | Noted previously - as written, this implies that a customer who does not elect for either Tier 2 AWHM service or integrate New Resources would be eligible to receive 100% Firm Requirements Power (presumably now equal to TRL) at Tier 1 Rates. I don’t believe this is the intent. The language also states that Exhibit C is only relevant in the event of a Tier 2 election, meaning I don’t believe limiting language in Exhibit C would be sufficient to address. Further, since the Block and Slice/Block template language point to Exhibit C, they do not share the same ambiguity. Recommend additional clarity. | Section 8.1.(1) has been rewritten and additions made to clarify language. BPA welcomes comments on Dec. 19 template.
17 | 8 | Applicable Rates | NRU | Further, considering bringing in the Section 8 rewrite (with edits to 8.1(2)) back with Exhibit C, ensuring that PoC and PRDM are aligned. | BPA has provided edits. Dec. 19 template will provide stakeholders with the opportunity to review sections 8.1 and Ex. C together.
18 | 11.1 | One-Time Right to Change Purchase Obligation | Seattle City Light | See comments which provided suggested a new redlined subsection titled "BPA's decision to join a day-ahead market: "A customer should have the right to change its purchase obligation in the event BPA joins a day-ahead market. This opportunity should not count towards a customer’s one-time right to change its purchase obligation." | Addressed at Dec. 11 workshop. Discussions regarding allowing a switch in purchase obligation due to BPA joining a day-ahead market will be part of a future conversation, consistent with proposed day ahead market provisions.
19 | 11.3 | Limitations due to Peak Load Increase | Seattle City Light | See surgical one-word edit from "may" to "shall" approve… "As noted at the October 15 workshop, if a customer passes the test, BPA should be obligated to approve the request." | Addressed at Dec. 11 workshop. "May" in each instance in 11.3 shows the flow of decsions that lead to allowing a change in purchase obligation. Any change to a customer's purchase obligation is a result of several steps in the assessment for an individual or an aggregation of customers.
20 | 14.6 | Delivery by Transfer | NRU | As noted in previous Workshop, would like to see some language here incorporating the intent and Principle from the PoC policy around enhanced coordination between customer, BPA, and third-party provider. Relevant to 14.6.8, 14.6.8.2, and 14.6.9, among other areas. | Sentence added at the beginning of section 14.6 to address comment. Edit included in Dec. 19 release.
21 | 14.6.8.1 | Unavailability of Firm Transmission Service | NRU | NRU continues to object to language in the PoC contract that absolves BPA of its load service obligation. As stated previously, Transfer Service exists in order to avoid the costs of BPA building out to serve these loads. Which, absent Transfer, it would have been obligated to do. Contractually stating simply “there’s nothing we can do” is difficult to accept. Language explicitly declaring that BPA has “no obligation” should only be applicable if the planning process somehow fails; i.e., if the customer fails to adhere to the planning requirements of 6.2.4 - it should not be a default provision. | BPA responded to the comment within section 14.6.8.1 and will be included in December 19 release.
22 | 17 | On the Marginal Energy True Up (PRDM-26 issue and a PoC contract issue) | Tacoma | We appreciate BPA’s revisions to the METU to account for increased forecast errors resulting from moving from an annual forecast net requirement process to a two-year Rate Period forecast process for establishing a planned product customer’s annual net requirement. There are two main factors of forecast error: 1) unforeseen and un-forecasted load loss/gains, and 2) weather. (note – load forecasts assume “normal weather”). These two factors can combine and result in material difference between forecast and actual loads for planned product customers that are completely out of their control. BPA presented a proposal to partially account for the “unforeseen and un-forecasted load loss/gains” (i.e., not weather) resulting from moving to a two-year forecast of net requirements. BPA proposed that if a customer’s updated load forecast for the second year of a rate period deviated by 20%, or by 30 aMWs (whichever is lower) from the original two-year forecast, BPA would work with that customer to update the second-year net requirement. We believe the 20% or 30 aMW forecast error threshold for revising the net requirement forecast are too high and should be set at the lower of 5% or 10 aMWs (if a MW threshold is even needed?). Of note, the consequences of the METU could be much worst for a partial requirements customer. Take an example of a customer that had a total retail load of 100 aMWs but a forecast net requirement of only 10 aMWs. Further, assume a 5% forecast error and 5% error due to weather not being “normal”. The customer’s total retail load “forecast error” is 10%, or 10 aMWs. In this circumstance the customers annual bill is approximately $3.1M ($35/MWh*8760*10aMWs) and its METU would be approximately $2.2M (($60-$35/MWh)*8760*10aMWs), a 71% increase from the original forecast bill. This impact will become even bigger as market prices increase in the future. These potential outcomes need careful consideration for a balanced and fair METU for planned product customers to avoid unintended consequences. | BPA is still considering this comment/request and will address in a workshop in January.
23 | 17.2.3 | Reports | NRU | Once again, no objection to the sharing of this data, or requiring same. But as PNUCC and NWPCC are not parties to this Agreement, these third-party obligations remain confusing. | BPA addressed in comment box at the Dec. 18 workshop.
24 | 17.6 | TRL | Grant | See comments regarding adding specific units. | BPA is still considering this comment.
25 | 17.7.1 | Net Requirements | Grant | Why is this “customer-system” rather than Customer Name? Please explain the difference between “customer-system” and “customer”. | BPA addressed comment in a comment box in section 17 shared at the Dec. 18 workshop.
26 | 17.9 | Resources Not Used to Serve TRL | Seattle City Light | See surgical deletion of "Contract Resources" with the comment: "Per Section 3, I believe references to “Contract Resources” are being deleted. | Deleted. BPA addressed in draft language at the Dec. 18 workshop and included in the Dec. 19 template release.
27 | 20.3.1 | Customer Notice of Large Loads and Determination of an NLSL | Grant | See edits. Suggested surgical edit referencing 12-month monitoring period. | BPA adjusted the contract language and shared it at the Dec. 11 workshop.
28 | 20.3.1 | Customer Notice of Large Loads and Determination of an NLSL | Grant | Suggested surgical edits changing NLSL to Actual NLSL. | BPA considered but declined to make this edit. Addressed and shared at Dec. 11 workshop.
29 | 20.3.4 | Billing for Large Loads Capable of Growing By More than 10 aMW in 12-Month Monitoring Period | Grant | The timing here is unclear: “at the outset” of what? It seems that such a determination could occur at any time due to required monitoring. Which PF rates are applicable to Planned, Potential and Actual NLSLs? | BPA adjusted the contract language and shared it at the Dec. 11 workshop.
30 | 20.3.5.3 | Facility Load Included in Customer's Firm Requirement Power | Grant | Reduces over what period? An hour? A Day? A month? A rolling 12-month period? This should be clarified | BPA addressed comment in Dec. 11 workshop.
31 | 20.3.6 | Service Options for Planned NLSLs and [Actual] NLSLs | Grant | See comments. The justification for this required waiver is unknown. See comment above. This language could impede the choice of non-federal resources used to serve NLSLs, which may be served with unDedicated Resources or ConsumerOwned Resources. An end-user may want to pay for a given existing non-federal resource, and then change its mind if a new non-federal resource becomes available. The Customer would then notify BPA of the change in nonfederal resource, and the “not already used” language would be unnecessary. | Based on policy direction; BPA addressed comment at Dec. 11 workshop.
32 | 20.3.7 | NLSL Service Study | Grant | The section on NLSL Service Study, Summary Report and NLSL Service Election is missing. Further comments will be necessary when that language is added. | Language not included in Block template as Block and Slice/Block customers not eligible to serve NLSLs with BPA-provided power at the NR rate.
33 | 20.3.8 | Consumer-Owned serving NLSL | Grant | See redlines. | BPA is still considering contract edits in response to this comment and will share language in January.
34 | 22 | DAM | Grant | Any amendments to the contracts to reflect BPA’s participation in new organized markets, including day-ahead markets, should not be unilaterally imposed on Customers. Further discussion is necessary on the process for developing potential amendments. | Language was shared at the Oct. 15 workshop. BPA does not propose unilateral amendments. The language states that agreement to an amendment will not be unreasonably withheld.
35 | 23 | WRAP | Grant | We are generally comfortable using Grant PUD’s Dedicated share of Western Resource Adequacy Program (WRAP) QCCs to determine Dedicated peak resource values. Any new methodology adopted by BPA for determining Dedicated peak non-federal resource values should not interfere with the Customer’s ability to comply with its (WRAP) obligations. | BPA shared WRAP language at the Dec. 18 workshop; language addresses BPA's and customer's respective responsibilities to comply with WRAP requirements. We look forward to further conversation on the topic.
36 | Exh C (Block), 1.4.3 | Minimum Hourly Energy | Grant | If we remove the “(1)” and the “(2)”, I think the resulting math makes sense, because then the comparison is just (A) vs. (B): | BPA has addressed comment in a comment box in section 1.4.3 in Dec. 19 release.
37 | Exh C (Block), 1.4.3 | Minimum Hourly Energy | Grant | BPA shall calculate the minimum hourly energy amounts as follows: the greater of (A) 60 percent of the Tier 1 Monthly Block amounts for the applicable month, as listed in section 1.3 of this exhibit or (B) the Tier 1 Monthly Block amounts for the applicable month, as listed in section 1.3 of this exhibit, minus the Shaping Capacity for the given month, as listed in section 1.4.1 of this exhibit. " If I’m wrong on this, then I’m not sure how 1.4.3 is intended to work." | BPA has addressed comment in a comment box in section 1.4.3 in Dec. 19 release.
38 | Exh. A, 3.3 | CPP Amounts for 9c Export Decrements | Grant | What is a “CPPA for 9(c) Export Decrements”? This term is undefined. | BPA intends to discuss with commenter directly.
39 | Exh. A, 7.3 | Consumer-Owned serving both On-Site and Load other than On-site Consumer load | Grant | Is “Delivery Plan” the ID of the transmission system used to deliver the output of the resource to the consumer’s load? If the Customer is the delivering party and the resource is inside the Customer’s service territory and BA, is the Delivery Plan the name of the Customer? | BPA shared responsive edits at Dec. 18 workshop.
40 | Exh. A, 7.3.1 (D) | Maximum Amounts serving On-Site Consumer Load | Grant | What is the purpose of this maximum? What if the consumer-owned resource delivers to the consumer’s load in some hours but to the Customer in others? Why is the data limited to “on-site” load? Grant suggests resolve comments and redlines in section 3.6.5 and then returning to this Exhibit. | BPA is considering this comment and will discuss, along with any edits to 3.6, in January.
41 | Exh. A, section 1 | Net Requirements | Grant | This Exhibit must clearly distinguish between Dedicated and not Dedicated nonfederal; resources. Only Dedicated resources reduce Net Requirements. Any Customer may have both dedicated and undedicated non-federal resources. If BPA has a reasonable need to know of such resources, they should be identified in manners that are independent of the calculation of “Net Requirements”. | BPA intends to discuss with commenter directly.
42 | Exh. A, section 1.1 | Forecast of TRL | Grant | See redlines. | BPA shared revised language regarding TRL forecast reasonableness at Dec. 18 workshop.
43 | Exh. A, section 1.2 | Forecast of Net Req. | Grant | Make sure that this calculation of Net Requirements excludes resources that are not Dedicated | BPA intends to discuss with commenter directly.
44 | Exh. A, section 2.1(1)(B) | List of Specified Resources | Grant | This table only applies to Dedicated resources, which reduce Net Requirements. Other nonfederal resources that may be identified in Exhibit A but are not Dedicated do not reduce Net Requirements | Section 6 identifies such resources. BPA intends to discuss with commenter directly.
45 | Exh. A, section 2.2 | T1 Allowance Amount | Grant | "Tier 1 Allowance Amount" is an undefined term. | BPA has a definition now.
46 | Exh. A, section 3 | Committed Power Purchase Amounts | Grant | "Committed Power Purchase" is an undefined term. | BPA has a definition now.
47 | Exh. A, section 4 | Ded. Resource Amounts Used to Serve an NLSL | Grant | What if the NLSL is served with “undedicated resources”? This provision should explicitly allow the Customer to notify BPA that the NLSL is served with Identified but not Dedicated resources. | BPA intends to discuss with commenter directly.
48 | Exh. A, section 5 | Total Ded Resource Amounts | Grant | Undedicated Resources must be excluded from this sum. If such resources appear elsewhere in Exhibit A, they should be clearly excluded here. For example, Nine Canyon Wind is not a Dedicated resource. | Section 6 identifies such resources. BPA intends to discuss with commenter directly.
49 | Exh. A, section 7 | List of Consumer-Owned | Grant | Does a “consumer-owned resource” include a resource that is owned by a third party but contracted to the end-user? Where do “consumercontracted resources” go in Exhibit A | BPA intends to discuss with commenter directly.
50 | Exh. B, 1.2.5 | Small Utility Adjustment | Grant | Small Utility Adjustment is not defined. | BPA has a definition now.
51 | Exh. B, 1.2.5 | Small Utility Adjustment | NRU | Instead of the qualifier in the below subsection (4) (i.e., section 1.2.5(4)), if this is “yes”, recommend including a table that has the CHWM number listed - otherwise there may be some confusion around the exact numbers. | BPA shared responsive edits at Dec.11 workshop.
52 | Exh. B, 1.2.6 | CF/CT Adjustment | Grant | What is the statutory basis for this provision? What is a “significant reduction”? What are the criteria for determining a “significant reduction”? | BPA shared responsive edits at Dec. 11 workshop.
53 | Exh.B, 1.2.6 | CF/CT Adjustment | NRU | Believe this should read: ”for the upcoming CHWM load process, and then through the remainder of the Agreement.” Resolves potential billing concerns and provides clarity for impacted customers. Additionally, this subsection should include language providing assurance that there won’t be any retroactive billing. Recommend: “Any CHWM reductions will be effective on a forward basis and will not result in any retroactive billing adjustments.” | BPA is still considering comments.
54 | Exh. C, 1.2.1.1 | Calculation of Monthly and Annual Load Values | Grant | Further comments may be necessary depending on the definition of Rate Case Year | Addressed in Dec. 11 workshop. Proposed edit to "the applicable Rate Period”
55 | Exh. C, 1.2.1.2 | Calc of Monthly Shaping Factors | Grant | Check definition. “Rate Case Year” can explicitly mean two years, not one, which contradicts the Definitions workbook. | Addressed in Dec. 11 workshop. Proposed edit to "the applicable Rate Period”.
56 | Exh. C, 1.22 | Amounts within each month | Grant | It appears that a parallel provision for the LLH in a month is required, or perhaps language stating that the rest of the Power will be delivered in the LLH | Updated language to address this comment. Included in Exh. C section 1.2.2 in the Dec 19 template.
57 | Exh. C, 1.3 | Current T1 Block | Grant | The tables immediately below are in MW/hour, not MWh. Are the MW/hour supposed to be converted into MWh? | Addressed in Dec. 11 workshop. Language is from RD, but could clarify with additional edits.
58 | Exh. C, 1.4 | Shaping Capacity | Grant | Can Shaping Capacity be purchased only with flat Blocks in each month, or with a flat annual Block as well? Note that this is a specific MW/hour number that applies in each hour of each month, not a MWh amount that cumulates over a period of hours. There is no definition of “Total Shaping Capacity”. | Addressed in Dec. 11 workshop. Shaping Capacity is only available for a Block that is shaped to the customer's monthly Net Requirement.
59 | Exh. C, 1.4.1 | Amounts of Shaping Capacity | Grant | PNR-based Shaping Capacity is the difference between two MW amounts for each month, not an aMW or MWh measure. Tier 1 Block is not a MW amount. Some revisions appear necessary | Addressed in Dec.11 workshop. The Tier 1 Block amounts shown in sec. 1.3 of the exhibit are in MW/hr. The calculation subtracts the flat MW delivered in any hour of the month from the PNR MW amount for the month. No revision necessary.
60 | Exh. C, 1.4.1.1 | Conditions that Result in Failure to take the Scheduled Shaping Capacity Amounts and Associated Penalty | Grant | Delete this provision. (1) BPA staff have indicated that it was an error, (2) the concept of paying for not using the option was never discussed in PRDM, and (3) the “total amount” of Shaping Capacity is undefined. In PRDM, SC (not PLVS) is a monthly-energyneutral call option to shift Block energy between hours in a month defined in MW/hour, not a take-or-pay option on some additional amount of energy. “Total Shaping” implies an energy product, not capacity, or requires an explicit formula for calculating “total shaping”, which does not yet exist. | Addressed in Dec. 11 workshop. BPA edited language. There will be an obligation to pay for the shaping capacity calculated and reserved from BPA regardless of whether used or not.
61 | Exh. C, 1.4.3 | Minimum Hourly Energy | Grant | This appears to require the 60/40 within-month split between HLH and LLH to be used to determine a 60% floor on hourly scheduling during LLH. Is that what was intended? This sentence may need a different math structure. Check the language against the intended formula. | Addressed in Dec. 11 workshop. The 60/40 split only applies to the diurnal block product, which is not eligible for Shaping Capacity. The fact that both calculations include a 60% is coincidence.
62 | Exh. C, 1.4.4 | Monthly Ramp Rate | Grant | See edits. Suggested surgical edit referencing 12-month monotoring period. | Addressed in Dec. 11 workshop. Edits incorporated into section 1.4.4. Monthly ramp rates section of Exhibit C.
63 | Exh. C, 1.4.4 | Monthly Ramp Rate | Grant | Will this table be updated every rate period for Customers who choose Shaped Monthly Block? | Addressed in Dec. 11 workshop. It would be updated by March 31 every Rate Case Year, and March 31 in the Forecast Year if there is a change in net requirement.
64 | Exh. C, 1.4.7 | Energy Neutrality | Grant | Is Power the right term here, given that Power includes Capacity? | Addressed in Dec. 11 workshop. The term “total amount of Firm Requirements Power priced at Tier 1 Rates” is used throughout Exhibit C.
65 | Exh. C, 2.2 | Rounding Option | Grant | This appears to allow any fractional CHWM Block to be rounded up to the next aMW. Is that correct? | Addressed in Nov. 13 workshop. Section 2.2 of Exhibit C is only applicable to Load Following and not planned products. Only applicable for the flexible path election in Section 2.1 of Exhibit C .
66 | Exh. C, section 1 | On using 4 years of historical data to recalculated Block Shaping Factors | Tacoma | Using 4 years of historical data to recalculate Block Shaping Factors will substantially lag the actual shaping needs if a customer has a material shift in its monthly net loads due to either the loss or gain of a large customer(s). There should be an option for consideration for a utility’s Block Shaping Factors for certain events. One way to reduce this potential material lag is to exclude (if a large load loss) or include (if a large load gain) that large load impact in all four years of the average calculation. | Addressed in multiple workshops.
67 | Exh. C, section 1.2 | On calculation methodology of Block Shaping Factors | Tacoma | The language on the calculation of Block Shaping Factors should clearly state that Block Shaping Factors should be calculated on monthly total retail load (Tier-1 and Tier-2 load) after subtracting total dedicated resources (“Existing” for Tier-1 and “new” Tier-2 resources) if a customer has above HWM load. We believe that is BPA’s intent, but the language should be clear. | Addressed in Dec. 11 workshop. Section 1.2 of Exhibit C states that Dedicated Resources include both Existing and New Resources.
68 | Exh. D, 1.2 | Potential NLSLs | Grant | Check definitions of Potential and Planned NLSLs to make sure that they achieve their intended separate results. | BPA addressed comment in Dec. 11 workshop.
69 | Exh. D, 1.2 | Potential NLSLs | Grant | Check definition of Monitoring Period, which is rolling, not CY or FY. Must this table be updated monthly? | BPA addressed comment in Dec. 11 workshop.
70 | Exh. D, 1.3 | Planned NLSLs Served with Ded. Resources or Cons. -Owned Resource Amounts | Grant | Is this just descriptive? If so, what is necessary? | BPA addressed comment in Dec. 11 workshop.
71 | Exh. D, 1.5.1 | Cumulative Prior Load | Grant | Make sure distinctions in the definitions are clear. What is “cumulative prior load”? How is it calculated? | BPA addressed comment in Dec. 11 workshop.
72 | Exh. D, 1.5.2 | (Table) Facility Load Included in Calculation of Power Eligible at PF Rate | Grant | These need definitions | BPA addressed comment in Dec. 11 workshop.
73 | Exh. D, 1.6 | Liquidated Damages | Grant | This sentence appears to remove the risk of LDs if the NLSL is served with non-federal power. However, “dedicated” is not capitalized and there is no reference to Exhibit A. | BPA addressed comment in Dec.11 workshop.
74 | Exh. D, 2 | IRD | Grant | Grant requests revisiting the eligibility criteria that exclude Grant from receiving the IRD | Questions regarding the eligibility criteria for the IRD are to be raised in the PRDM 7(i) Process.
75 | Exh. F, Sched, 1 | Scheduling Federal Resources | Grant | Note: this provision moves Shaping Capacity to TWO days before delivery from ONE day, and gives BPA the further option to require preschedules by 0900 instead of 1100. Such restrictions have not been discussed in any workshops, and the justifications for these limits are unknown. | BPA will share the Block and Slice Exhibit Fs in January.
76 | Exh. F, Sched, 2 | Scheduling of Ded. Resources | Grant | Does this apply to any non-federal resource, or only to those resources formally identified as “Dedicated”? Does this reporting requirement apply to all “deliveries” of Dedicated Resources, whether to the Customer’s PODs or to third parties? | BPA will share the Block and Slice Exhibit Fs in January.
77 | Exh. F, TSS, 1.2 | Purpose | NRU | Following up on the recent Exhibit F discussion, need to clarify under new Section 1.2.1 that customers have the ability to have BOTH TSS-Full and TSS-Partial. | Portions of Exhibit F have been completely restructed to accommodate this.
78 | Exh. H | Exh. H | Grant | Please see PPG comments on this Exhibit. | BPA addressed PPG comments on Exhibit H at Dec. 18 workshop.
79 | Exh. H | Exh. H | NRU | Incorporating by reference NRU and WPAG’s extensive comments on this Exhibit H. | BPA addressed WPAG/NRU comments on Exhibit H at December 18 workshop.
80 | Exh. J | Network Resource Information | Grant | Note: federal power is a Network Resource for any NITS contract. | Addressed at Dec. 11 workshop in the Network Resource section at the end of Exhibit G. BPA adjusted language and was included in Dec. 19 release.
81 | Exh. J | Additional Resource and Energy Storage Device Requirements | Snohomish | Snohomish urges BPA to actively particpate in discussions about dispatch control for energy storage devices. This engagement is crucial for maximizing the efficient and reliable dispatch of energy storage technologies. | BPA will bring language on energy storage devices in January.
82 | Exh. L and M | On changes to Exhibits L & M (previously Exhibits M & N) | Tacoma | Tacoma Power sincerely appreciates BPA’s commitment to offering and supporting the Slice product. Upon review of the Slice Exhibits M and N, we think that we (BPA and Slice Customers) may have the opportunity to revisit the Slice Simulator methodology and/or contractual construct to reduce the logistical complexity of the product and allow for a less staff-intensive approach on both sides. In this light, Tacoma Power has the following suggestions: 1) Develop a collaborative engagement between BPA and the Slice Customers to carefully review the Slice Simulator and contractual philosophy to identify areas of improvement that may now be possible with a Day-Ahead product. 2) Create a cross-functional team of hydro operational experts from both BPA and the Slice Customers that can work together to facilitate a reasonable and mutual beneficial approach. This is a similar approach that BPA and the Slice Customers followed for the RD slice contract when our teams worked together to construct the current Slice simulator. This approach would help assure that the Slice Contract will work effectively and efficiently for a Day-Ahead Slice product. We also recommend revised language around the Default User Interface (DUI) to include the Customer Facing Interface (CFI). The CFI has become the predominate portal through which a customer manages its Slice simulation. For this and other reasons the CFI should be incorporated into contract language that puts it on par with the DUI as one alternative for interacting with the POCSA. Multiple references to Exhibit F, Section 4.1 regarding the timeline for the scheduling of Slice are unclear. Customers would appreciate a more thorough review of the timing for Slice submittals, deadlines, and POCSA interactions. Customers would like BPA to consider applying average daily SOAs spread over a 24-hour period. This would have the same effect of keeping forecasted inflows trued up with actual inflows but without some of the SOA anomalies customers have experienced in the current within-day, hourly Slice product but that should no longer be a consideration in a day-ahead Slice product. | BPA's objectives during the POC Slice design phase centered on adapting the existing Slice Product to a day-ahead market timeline with a focus on limiting additional complexity. During the testing and implementation phase BPA technical staff will engage with customer staff. The implemetnation and testing process may identify a need for changes to contract provisons and processes used in the POCSA. BPA will provide a day in the life of Slice timeline to customers in January to demonstrate the timing of BPA and customer inputs leading up to the Slice Scheduling Day and Slice Operating Day BPA will bring language on the Customer Facing Interface in a January workshop.