{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["TC-20 Query"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"TC-20 Query","index":0,"n_rows":90,"n_cols":27,"rows_kept":90,"cut":false,"hidden":false,"merged":[]}
["ID","Flowgate","Implementation Date & Time","DD-MMM-YY","Start Date & Time","Stop Date & Time","Hour Ending","Interval/s Curtailed","Relief Needed","MW Curtailed","Minutes Curtailed","MWh Ratio","Priority 1","Priority 2","Priority 3","Priority 4","Priority 5","Priority 6","Priority 7","Tags Rejected","Priority 1 MWh","Priority 2 MWh","Priority 3 MWh","Priority 4 MWh","Priority 5 MWh","Priority 6 MWh","Priority 7 MWh"]
["[iCRS09017-7]","NOEL","02/27/2023 11:22:45.560PST","2023-02-27","2023-02-27T11:22:00","02/27/2023 12:00:00",12,"B-D",300,1686,38,{"$f":"K2/60","v":0.6333333333333333},353,0,43,0,0,0,1290,0,{"$f":"M2*$L2","v":223.56666666666666},{"$f":"N2*$L2","v":0},{"$f":"O2*$L2","v":27.233333333333331},{"$f":"P2*$L2","v":0},{"$f":"Q2*$L2","v":0},{"$f":"R2*$L2","v":0},{"$f":"S2*$L2","v":817}]
["[iCRS09016-7]","NOEL","02/27/2023 10:23:36.292PST","2023-02-27","2023-02-27T10:23:00","02/27/2023 11:00:00",11,"B-D",300,1430,37,{"$f":"K3/60","v":0.6166666666666667},379,0,43,0,0,0,1008,0,{"$f":"M3*$L3","v":233.71666666666667},{"$f":"N3*$L3","v":0},{"$f":"O3*$L3","v":26.516666666666669},{"$f":"P3*$L3","v":0},{"$f":"Q3*$L3","v":0},{"$f":"R3*$L3","v":0},{"$f":"S3*$L3","v":621.6}]
["[iCRS09013]","NOEL","02/27/2023 09:49:05.947PST","2023-02-27","2023-02-27T10:00:00","02/27/2023 11:00:00",11,"A-D",300,804,60,1,804,0,0,0,0,0,0,0,{"$f":"M4*$L4","v":804},{"$f":"N4*$L4","v":0},{"$f":"O4*$L4","v":0},{"$f":"P4*$L4","v":0},{"$f":"Q4*$L4","v":0},{"$f":"R4*$L4","v":0},{"$f":"S4*$L4","v":0}]
["[iCRS08976]","NOEL","12/21/2022 15:47:07.610PST",{"$f":"E5","v":"2022-12-21T16:00:00"},"2022-12-21T16:00:00","2022-12-21T17:00:00",17,"A-D",181,645,{"$f":"ROUND((F5-E5)*60*24,0)","v":60},{"$f":"K5/60","v":1},645,0,0,0,0,0,0,0,{"$f":"M5*$L5","v":645},{"$f":"N5*$L5","v":0},{"$f":"O5*$L5","v":0},{"$f":"P5*$L5","v":0},{"$f":"Q5*$L5","v":0},{"$f":"R5*$L5","v":0},{"$f":"S5*$L5","v":0}]
["[iCRS08972]","NOEL","12/21/2022 15:18:51.252PST",{"$f":"E6","v":"2022-12-21T15:18:00"},"2022-12-21T15:18:00","2022-12-21T16:00:00",16,"B-D",100,290,{"$f":"ROUND((F6-E6)*60*24,0)","v":42},{"$f":"K6/60","v":0.7},74,56,160,0,0,0,0,0,{"$f":"M6*$L6","v":51.8},{"$f":"N6*$L6","v":39.199999999999996},{"$f":"O6*$L6","v":112},{"$f":"P6*$L6","v":0},{"$f":"Q6*$L6","v":0},{"$f":"R6*$L6","v":0},{"$f":"S6*$L6","v":0}]
["[iCRS08971]","NOEL","12/21/2022 14:48:56.862PST",{"$f":"E7","v":"2022-12-21T15:00:00"},"2022-12-21T15:00:00","2022-12-21T16:00:00",16,"A-D",300,940,{"$f":"ROUND((F7-E7)*60*24,0)","v":60},{"$f":"K7/60","v":1},940,0,0,0,0,0,0,0,{"$f":"M7*$L7","v":940},{"$f":"N7*$L7","v":0},{"$f":"O7*$L7","v":0},{"$f":"P7*$L7","v":0},{"$f":"Q7*$L7","v":0},{"$f":"R7*$L7","v":0},{"$f":"S7*$L7","v":0}]
["[iCRS08969]","NOEL","12/21/2022 14:21:02.959PST",{"$f":"E8","v":"2022-12-21T14:21:00"},"2022-12-21T14:21:00","2022-12-21T15:00:00",15,"B-D",200,602,{"$f":"ROUND((F8-E8)*60*24,0)","v":39},{"$f":"K8/60","v":0.65},602,0,0,0,0,0,0,0,{"$f":"M8*$L8","v":391.3},{"$f":"N8*$L8","v":0},{"$f":"O8*$L8","v":0},{"$f":"P8*$L8","v":0},{"$f":"Q8*$L8","v":0},{"$f":"R8*$L8","v":0},{"$f":"S8*$L8","v":0}]
["[iCRS08938]","NOEL","11/09/2022 19:06:35.578PST","2022-11-09","2022-11-09T19:06:00","2022-11-09T20:00:00",20,"A-D",200,595,54,{"$f":"K9/60","v":0.9},595,0,0,0,0,0,0,0,{"$f":"M9*$L9","v":535.5},{"$f":"N9*$L9","v":0},{"$f":"O9*$L9","v":0},{"$f":"P9*$L9","v":0},{"$f":"Q9*$L9","v":0},{"$f":"R9*$L9","v":0},{"$f":"S9*$L9","v":0}]
["[iCRS08931]","NOEL","11/09/2022 16:46:44.090PST","2022-11-09","2022-11-09T17:00:00","2022-11-09T18:00:00",18,"A-D",500,1108,60,1,1108,0,0,0,0,0,0,0,1108,0,0,0,0,0,0]
["[iCRS08927]","NOEL","11/09/2022 16:29:43.925PST","2022-11-09","2022-11-09T16:29:00","2022-11-09T17:00:00",17,"B-D",300,662,31,0.51666666666666672,662,0,0,0,0,0,0,0,342.03333333333336,0,0,0,0,0,0]
["[iCRS08923-7]*","NOEL","11/09/2022 09:47:05.748PST","2022-11-09","2022-11-09T10:00:00","2022-11-09T11:00:00",11,"A-D",297,912,60,1,871,0,41,0,0,0,0,0,871,0,41,0,0,0,0]
["[iCRS08916-7]*","NOEL","11/09/2022 09:09:28.423PST","2022-11-09","2022-11-09T09:09:00","2022-11-09T10:00:00",10,"A-D",264,862,51,{"$f":"K13/60","v":0.85},814,0,41,0,7,0,0,0,{"$f":"M13*$L13","v":691.9},{"$f":"N13*$L13","v":0},34.85,0,5.95,0,0]
["[iCRS08905]","SI","10/26/2022 09:07:37.505PDT","2022-10-26","2022-10-26T09:07:00","2022-10-26T10:00:00",10,"A-D",85,85,53,{"$f":"53/60","v":0.8833333333333333},85,0,null,null,null,0,0,0,{"$f":"M14*L14","v":75.083333333333329},0,null,null,null,0,0]
["[iCRS08904]","SI","10/26/2022 08:24:42.403PDT","2022-10-26","2022-10-26T08:24:00","2022-10-26T09:00:00",9,"B-D",50,57,36,{"$f":"36/60","v":0.6},57,0,null,null,null,0,0,0,{"$f":"M15*L15","v":34.199999999999996},0,null,null,null,0,0]
["[iCRS08885]","R-P","06/23/2022 08:10:56.026PDT","2022-06-23","2022-06-23T09:00:00","2022-06-23T10:00:00",10,"A-D",75,500,60,1,500,0,null,null,null,0,0,0,500,0,null,null,null,0,0]
["[iCRS08878]","R-P","06/23/2022 07:31:06.749PDT","2022-06-23","2022-06-23T08:00:00","2022-06-23T09:00:00",9,"A-D",50,360,60,1,360,0,null,null,null,0,0,0,360,0,null,null,null,0,0]
["[iCRS08877]","R-P","06/23/2022 07:30:15.021PDT","2022-06-23","2022-06-23T07:30:00","2022-06-23T08:00:00",8,"A-D",50,339,30,0.5,339,0,null,null,null,0,0,0,170,0,null,null,null,0,0]
["[iCRS08762-7]","NWACI_NS","07/09/2021 15:53:33.485PDT","2021-09-07","2021-07-09T16:00:00","2021-07-09T17:00:00",17,"A-D",1300,2209,60,1,0,0,null,null,null,0,2209,0,0,0,null,null,null,0,2209]
["[iCRS08724-7]","NWACI_NS","09/06/2020 17:50:33.599PDT","2020-09-06","2020-09-06T18:00:00","2020-09-06T18:15:00",19,"A",960,1170,15,0.24999999994179201,0,372,null,null,null,0,797,0,0,93,null,null,null,0,199]
["[iCRS08718]","SOC","08/06/2020 08:45:15.181PDT","2020-08-06","2020-08-06T09:00:00","2020-08-06T10:00:00",10,"A-D",300,371,60,0.99999999994179201,371,0,null,null,null,0,0,0,371,0,null,null,null,0,0]
["[iCRS08717]","SOC","08/06/2020 08:30:25.154PDT","2020-08-06","2020-08-06T08:30:00","2020-08-06T09:00:00",9,"C-D",200,248,30,0.50000000005820799,248,0,null,null,null,0,0,0,124,0,null,null,null,0,0]
["[iCRS08692-7]","NWACI_NS","06/27/2020 12:12:27.279PDT","2020-06-27","2020-06-27T12:12:00","2020-06-27T13:00:00",13,"A-D",300,370,48,0.79999999998835802,70,0,null,null,null,20,280,0,56,0,null,null,null,16,224]
["[iCRS08693-7]","NWACI_NS","06/27/2020 12:26:26.609PDT","2020-06-27","2020-06-27T12:26:00","2020-06-27T13:00:00",13,"B-D",300,351,34,0.56666666659293696,0,26,null,null,null,0,325,0,0,15,null,null,null,0,184]
["[iCRS08691-7]","NWACI_NS","06/27/2020 11:32:57.145PDT","2020-06-27","2020-06-27T11:32:00","2020-06-27T12:00:00",12,"C-D",350,420,28,0.46666666661622003,0,0,null,null,null,0,420,0,0,0,null,null,null,0,196]
["[iCRS08690-7]","NWACI_NS","06/27/2020 11:13:18.756PDT","2020-06-27","2020-06-27T11:13:00","2020-06-27T12:00:00",12,"A-D",250,340,47,0.78333333326736498,87,44,null,null,null,39,170,0,68,34,null,null,null,31,133]
["[iCRS08689-7]","NWACI_NS","06/26/2020 21:22:55.352PDT","2020-06-26","2020-06-26T21:22:00","2020-06-26T22:00:00",22,"B-D",500,585,38,0.63333333330228903,0,0,null,null,null,0,585,0,0,0,null,null,null,0,370]
["[iCRS08688-7]","NWACI_NS","06/26/2020 20:19:45.395PDT","2020-06-26","2020-06-26T20:19:00","2020-06-26T21:00:00",21,"B-D",700,824,41,0.68333333329064805,0,0,null,null,null,0,824,0,0,0,null,null,null,0,563]
["[iCRS08687-7]","NWACI_NS","06/26/2020 19:24:34.903PDT","2020-06-26","2020-06-26T19:24:00","2020-06-26T20:00:00",20,"B-D",700,822,36,0.60000000003492504,0,47,null,null,null,0,775,0,0,28,null,null,null,0,465]
["[iCRS08686-7]","NWACI_NS","06/26/2020 18:27:41.910PDT","2020-06-26","2020-06-26T18:27:00","2020-06-26T19:00:00",19,"B-D",600,704,33,0.54999999987194303,0,50,null,null,null,0,654,0,0,27,null,null,null,0,360]
["[iCRS08685-7]","NWACI_NS","06/26/2020 17:13:07.887PDT","2020-06-26","2020-06-26T17:13:00","2020-06-26T18:00:00",18,"A-D",700,819,47,0.78333333326736498,0,0,null,null,null,0,819,0,0,0,null,null,null,0,642]
["[iCRS08684-7]","NWACI_NS","06/26/2020 16:31:36.389PDT","2020-06-26","2020-06-26T16:31:00","2020-06-26T17:00:00",17,"C-D",450,527,29,0.48333333333721401,0,0,null,null,null,0,527,0,0,0,null,null,null,0,255]
["[iCRS08683-7]","NWACI_NS","06/26/2020 15:21:25.045PDT","2020-06-26","2020-06-26T15:21:00","2020-06-26T16:00:00",16,"B-D",500,585,39,0.65000000002328295,0,25,null,null,null,0,560,0,0,16,null,null,null,0,364]
["[iCRS08682-7]","NWACI_NS","06/26/2020 14:28:55.475PDT","2020-06-26","2020-06-26T14:28:00","2020-06-26T15:00:00",15,"B-D",400,470,32,0.53333333332557198,0,0,null,null,null,0,470,0,0,0,null,null,null,0,251]
["[iCRS08681-7]","NWACI_NS","06/26/2020 14:17:32.275PDT","2020-06-26","2020-06-26T14:17:00","2020-06-26T15:00:00",15,"B-D",350,408,43,0.71666666673263502,0,0,null,null,null,0,408,0,0,0,null,null,null,0,292]
["[iCRS08677-7]","NWACI_NS","06/05/2020 15:01:39.196PDT","2020-06-05","2020-06-05T15:01:00","2020-06-05T15:15:00",16,"A",100,118,14,0.23333333322079899,0,0,null,null,null,0,118,0,0,0,null,null,null,0,28]
["[iCRS08664]","NOEL","03/02/2020 15:13:09.715PST","2020-03-02","2020-03-02T15:13:00","2020-03-02T16:00:00",16,"A-D",100,291,47,0.78333333326736498,291,0,null,null,null,0,0,0,228,0,null,null,null,0,0]
["[iCRS08663]","NOEL","03/02/2020 14:25:18.775PST","2020-03-02","2020-03-02T14:25:00","2020-03-02T15:00:00",15,"B-D",150,376,35,0.583333333313931,376,0,null,null,null,0,0,0,219,0,null,null,null,0,0]
["[iCRS08662]","NOEL","03/02/2020 12:51:10.693PST","2020-03-02","2020-03-02T13:00:00","2020-03-02T14:00:00",14,"A-D",200,483,60,1.00000000011642,483,0,null,null,null,0,0,0,483,0,null,null,null,0,0]
["[iCRS08661]","NOEL","03/02/2020 12:45:08.703PST","2020-03-02","2020-03-02T12:45:00","2020-03-02T13:00:00",13,"D",200,493,15,0.24999999994179201,493,0,null,null,null,0,0,0,123,0,null,null,null,0,0]
["[iCRS08660]","NOEL","02/29/2020 12:45:11.504PST","2020-02-29","2020-02-29T13:00:00","2020-02-29T14:00:00",14,"A-D",100,244,60,1.00000000011642,244,0,null,null,null,0,0,0,244,0,null,null,null,0,0]
["[iCRS08659]","NOEL","02/29/2020 10:50:00.982PST","2020-02-29","2020-02-29T11:00:00","2020-02-29T12:00:00",12,"A-D",100,245,60,0.99999999994179201,245,0,null,null,null,0,0,0,245,0,null,null,null,0,0]
["[iCRS08658]","NOEL","02/29/2020 08:47:33.626PST","2020-02-29","2020-02-29T09:00:00","2020-02-29T10:00:00",10,"A-D",150,399,60,0.99999999994179201,399,0,null,null,null,0,0,0,399,0,null,null,null,0,0]
["[iCRS08656]","NOEL","02/29/2020 08:14:26.502PST","2020-02-29","2020-02-29T08:14:00","2020-02-29T09:00:00",9,"A-D",200,566,46,0.76666666672099404,566,0,null,null,null,0,0,0,434,0,null,null,null,0,0]
["[iCRS08657]","NOEL","02/29/2020 08:24:26.832PST","2020-02-29","2020-02-29T08:24:00","2020-02-29T09:00:00",9,"B-D",100,282,36,0.60000000003492504,282,0,null,null,null,0,0,0,169,0,null,null,null,0,0]
["[iCRS08655]","NOEL","02/27/2020 11:46:10.932PST","2020-02-27","2020-02-27T12:00:00","2020-02-27T13:00:00",13,"A-D",250,506,60,0.99999999994179201,506,0,null,null,null,0,0,0,506,0,null,null,null,0,0]
["[iCRS08654]","NOEL","02/27/2020 10:46:27.268PST","2020-02-27","2020-02-27T11:00:00","2020-02-27T12:00:00",12,"A-D",250,488,60,0.99999999994179201,488,0,null,null,null,0,0,0,488,0,null,null,null,0,0]
["[iCRS08653]","NOEL","02/27/2020 10:25:35.432PST","2020-02-27","2020-02-27T10:25:00","2020-02-27T11:00:00",11,"B-D",250,486,35,0.583333333313931,486,0,null,null,null,0,0,0,283,0,null,null,null,0,0]
["[iCRS08652]","NOEL","02/26/2020 15:25:31.765PST","2020-02-26","2020-02-26T15:25:00","2020-02-26T16:00:00",16,"B-D",200,395,35,0.583333333313931,395,0,null,null,null,0,0,0,230,0,null,null,null,0,0]
["[iCRS08650]","NOEl","02/26/2020 13:55:06.084PST","2020-02-26","2020-02-26T14:00:00","2020-02-26T15:00:00",15,"A-D",250,491,60,0.99999999994179201,491,0,null,null,null,0,0,0,491,0,null,null,null,0,0]
["[iCRS08648]","NOEL","02/26/2020 13:28:02.674PST","2020-02-26","2020-02-26T13:28:00","2020-02-26T14:00:00",14,"B-D",250,486,32,0.53333333332557198,486,0,null,null,null,0,0,0,259,0,null,null,null,0,0]
["[iCRS08646]","NOEL","02/26/2020 12:01:11.044PST","2020-02-26","2020-02-26T12:01:00","2020-02-26T13:00:00",13,"A-D",250,476,59,0.98333333322079897,476,0,null,null,null,0,0,0,468,0,null,null,null,0,0]
["[iCRS08645]","NOEL","02/26/2020 11:27:58.457PST","2020-02-26","2020-02-26T11:27:00","2020-02-26T12:00:00",12,"B-D",250,496,33,0.55000000004656602,496,0,null,null,null,0,0,0,273,0,null,null,null,0,0]
["[iCRS08644]","NOEL","02/24/2020 15:28:52.528PST","2020-02-24","2020-02-24T15:28:00","2020-02-24T16:00:00",16,"B-D",250,523,32,0.53333333332557198,523,0,null,null,null,0,0,0,279,0,null,null,null,0,0]
["[iCRS08642]","NOEL","02/24/2020 10:56:54.097PST","2020-02-24","2020-02-24T11:00:00","2020-02-24T12:00:00",12,"A-D",400,825,60,0.99999999994179201,825,0,null,null,null,0,0,0,825,0,null,null,null,0,0]
["[iCRS08641]","NOEL","02/24/2020 09:52:23.903PST","2020-02-24","2020-02-24T10:00:00","2020-02-24T11:00:00",11,"A-D",400,829,60,1.00000000011642,829,0,null,null,null,0,0,0,829,0,null,null,null,0,0]
["[iCRS08640]","NOEL","02/24/2020 08:51:41.597PST","2020-02-24","2020-02-24T09:00:00","2020-02-24T10:00:00",10,"A-D",400,877,60,0.99999999994179201,877,0,null,null,null,0,0,0,877,0,null,null,null,0,0]
["[iCRS08638]","NOEL","02/24/2020 08:23:05.048PST","2020-02-24","2020-02-24T08:23:00","2020-02-24T09:00:00",9,"B-D",300,674,37,0.61666666658129499,674,0,null,null,null,0,0,0,416,0,null,null,null,0,0]
["[iCRS08637]","NOEL","02/23/2020 13:29:08.332PST","2020-02-23","2020-02-23T13:29:00","2020-02-23T14:00:00",14,"B-D",150,339,31,0.51666666677920103,339,0,null,null,null,0,0,0,175,0,null,null,null,0,0]
["[iCRS08636]","NOEL","02/23/2020 11:40:18.135PST","2020-02-23","2020-02-23T11:40:00","2020-02-23T12:00:00",12,"C-D",150,329,20,0.333333333372138,329,0,null,null,null,0,0,0,110,0,null,null,null,0,0]
["[iCRS08635]","NOEL","02/23/2020 09:55:02.405PST","2020-02-23","2020-02-23T10:00:00","2020-02-23T11:00:00",11,"A-D",300,641,60,1.00000000011642,641,0,null,null,null,0,0,0,641,0,null,null,null,0,0]
["[iCRS08634]","NOEL","02/17/2020 13:46:33.982PST","2020-02-17","2020-02-17T14:00:00","2020-02-17T15:00:00",15,"A-D",100,219,60,0.99999999994179201,219,0,null,null,null,0,0,0,219,0,null,null,null,0,0]
["[iCRS08632]","NOEL","02/17/2020 12:50:08.935PST","2020-02-17","2020-02-17T13:00:00","2020-02-17T14:00:00",14,"A-D",200,433,60,1.00000000011642,433,0,null,null,null,0,0,0,433,0,null,null,null,0,0]
["[iCRS08630]","NOEL","02/17/2020 12:31:18.105PST","2020-02-17","2020-02-17T12:31:00","2020-02-17T13:00:00",13,"C-D",200,431,29,0.48333333333721401,431,0,null,null,null,0,0,0,208,0,null,null,null,0,0]
["[iCRS08598]","NOEL","01/12/2020 13:54:23.057PST","2020-01-12","2020-01-12T14:00:00","2020-01-12T15:00:00",15,"A-D",250,575,60,0.99999999994179201,575,0,null,null,null,0,0,0,575,0,null,null,null,0,0]
["[iCRS08597]","NOEL","01/12/2020 12:42:23.526PST","2020-01-12","2020-01-12T13:00:00","2020-01-12T14:00:00",14,"A-D",845,1914,60,1.00000000011642,1652,262,null,null,null,0,0,0,1652,262,null,null,null,0,0]
["[iCRS08593]","NOEL","01/12/2020 11:04:41.815PST","2020-01-12","2020-01-12T12:00:00","2020-01-12T13:00:00",13,"A-D",350,838,60,0.99999999994179201,838,0,null,null,null,0,0,0,838,0,null,null,null,0,0]
["[iCRS08596]","NOEL","01/12/2020 12:35:22.651PST","2020-01-12","2020-01-12T12:35:00","2020-01-12T13:00:00",13,"C-D",175,391,25,0.416666666627862,391,0,null,null,null,0,0,0,163,0,null,null,null,0,0]
["[iCRS08592]","NOEL","01/12/2020 11:01:23.971PST","2020-01-12","2020-01-12T11:01:00","2020-01-12T12:00:00",12,"A-D",350,833,59,0.98333333339542195,833,0,null,null,null,0,0,0,819,0,null,null,null,0,0]
["[iCRS08590]","NOEL","01/12/2020 09:33:57.338PST","2020-01-12","2020-01-12T10:00:00","2020-01-12T11:00:00",11,"A-D",150,348,60,1.00000000011642,348,0,null,null,null,0,0,0,348,0,null,null,null,0,0]
["[iCRS08588]","NOEL","01/12/2020 10:07:18.808PST","2020-01-12","2020-01-12T10:07:00","2020-01-12T11:00:00",11,"A-D",100,248,53,0.88333333341870501,248,0,null,null,null,0,0,0,219,0,null,null,null,0,0]
["[iCRS08591]","NOEL","01/12/2020 09:35:24.362PST","2020-01-12","2020-01-12T09:35:00","2020-01-12T10:00:00",10,"C-D",150,342,25,0.416666666627862,342,0,null,null,null,0,0,0,142,0,null,null,null,0,0]
["[iCRS08555-7]","NOEL","10/26/2019 17:45:02.609PDT","2019-10-26","2019-10-26T18:00:00","2019-10-26T19:00:00",19,"A-D",81,268,60,0.99999999994179201,2,0,null,null,null,0,266,0,2,0,null,null,null,0,266]
["[iCRS08548-7]","NOEL","10/25/2019 19:51:49.096PDT","2019-10-25","2019-10-25T20:00:00","2019-10-25T21:00:00",21,"A-D",81,272,60,0.99999999994179201,32,0,null,null,null,0,240,0,32,0,null,null,null,0,240]
["[iCRS08547-7]","NOEL","10/25/2019 18:43:06.325PDT","2019-10-25","2019-10-25T19:00:00","2019-10-25T20:00:00",20,"A-D",208,686,60,1.00000000011642,32,0,null,null,null,0,654,0,32,0,null,null,null,0,654]
["[iCRS08544-7]","NOEL","10/25/2019 17:46:34.900PDT","2019-10-25","2019-10-25T18:00:00","2019-10-25T19:00:00",19,"A-D",142,471,60,0.99999999994179201,38,0,null,null,null,0,433,0,38,0,null,null,null,0,433]
["[iCRS08543-7]","NOEL","10/25/2019 11:43:54.605PDT","2019-10-25","2019-10-25T12:00:00","2019-10-25T13:00:00",13,"A-D",102,362,60,0.99999999994179201,77,0,null,null,null,0,285,0,77,0,null,null,null,0,285]
["[iCRS08538]","NOEL","10/22/2019 22:43:32.466PDT","2019-10-22","2019-10-22T23:00:00","2019-10-23",24,"A-D",186,391,60,0.99999999994179201,391,0,null,null,null,0,0,0,391,0,null,null,null,0,0]
["[iCRS08537]","NOEL","10/22/2019 21:44:52.108PDT","2019-10-22","2019-10-22T21:45:00","2019-10-22T22:00:00",22,"D",15,38,15,0.24999999994179201,38,0,null,null,null,0,0,0,9,0,null,null,null,0,0]
["[iCRS08533]","NOEL","10/22/2019 13:59:46.968PDT","2019-10-22","2019-10-22T14:00:00","2019-10-22T15:00:00",15,"A-D",34,82,60,0.99999999994179201,82,0,null,null,null,0,0,0,82,0,null,null,null,0,0]
["[iCRS08531]","NOEL","10/22/2019 11:42:36.820PDT","2019-10-22","2019-10-22T12:00:00","2019-10-22T13:00:00",13,"A-D",101,351,60,0.99999999994179201,351,0,null,null,null,0,0,0,351,0,null,null,null,0,0]
["[iCRS08529]","NOEL","10/22/2019 10:53:14.788PDT","2019-10-22","2019-10-22T11:00:00","2019-10-22T12:00:00",12,"A-D",6,22,60,0.99999999994179201,22,0,null,null,null,0,0,0,22,0,null,null,null,0,0]
["[iCRS08526]","NOEL","10/22/2019 08:41:58.777PDT","2019-10-22","2019-10-22T09:00:00","2019-10-22T10:00:00",10,"A-D",73,183,60,0.99999999994179201,183,0,null,null,null,0,0,0,183,0,null,null,null,0,0]
["[iCRS08525-7]","NOEL","10/22/2019 07:41:19.654PDT","2019-10-22","2019-10-22T08:00:00","2019-10-22T09:00:00",9,"A-D",344,890,60,0.99999999994179201,539,0,null,null,null,0,351,0,539,0,null,null,null,0,351]
["[iCRS08508-7]","NWACI_NS","09/25/2019 18:41:54.401PDT","2019-09-25","2019-09-25T18:45:00","2019-09-25T19:00:00",19,"D",500,572,15,0.24999999994179201,0,7,null,null,null,0,565,0,0,2,null,null,null,0,141]
["[iCRS08506-7]","NWACI_NS","09/25/2019 18:10:58.495PDT","2019-09-25","2019-09-25T18:15:00","2019-09-25T18:30:00",19,"B",500,572,15,0.25000000011641499,0,1,null,null,null,0,571,0,0,0,null,null,null,0,143]
["[iCRS08507-7]","NWACI_NS","09/25/2019 18:24:27.119PDT","2019-09-25","2019-09-25T18:15:00","2019-09-25T18:30:00",19,"B",500,572,15,0.25000000011641499,0,0,null,null,null,0,572,0,0,0,null,null,null,0,143]
["[iCRS08504-7]","NWACI_NS","09/25/2019 17:24:04.267PDT","2019-09-25","2019-09-25T17:15:00","2019-09-25T17:30:00",18,"B",500,578,15,0.24999999994179201,0,82,null,null,null,0,496,0,0,20,null,null,null,0,124]
["[iCRS08505-7]","NWACI_NS","09/25/2019 17:42:29.470PDT","2019-09-25","2019-09-25T17:45:00","2019-09-25T18:00:00",18,"D",500,572,15,0.24999999994179201,0,13,null,null,null,0,559,0,0,3,null,null,null,0,140]
["[iCRS38173]","NOEL","02/22/2019 09:43:30.869PST","2019-02-22","2019-02-22T09:45:00","2019-02-22T10:00:00",10,"D",250,832,15,0.24999999994179201,832,0,null,null,null,0,0,0,208,0,null,null,null,0,0]